Data Path Optimizer

IBM Subsystem Device Driver / Data Path Optimizer on an ESS
Installation Procedures/Potential Gotchas

Jesse I. Adams III		IBM Global Services

Last Updated:  9/15/2000 12:48 PM

Table of Contents

Section 1:  Installation Procedures	1

1.1	Additional Documentation & Business Reasons for Data Path Optimizer(	1

1.2	ESS, Fiber, and SDD/DPO Software	2

1.3	Install ESS (IBM2105) Software (without Fiber)	3

1.4	Install ESS (IBM2105) Software (with Fiber)	4

1.5	Run cfgmgr –v	4

1.6	Verify IBM Disk Drive Connectivity	5

1.7	Install Data Path Optimizer Code	7

1.8	Run cfgmgr –v	8

1.9	Check the status of your disk drives	12

Section 2:  Possible Gotcha	17

2.1	How to Dig Yourself into a Hole	17

2.2	Why You are in this Hole	17

Section 3:  DPO Recovery from PVID Issues	19

3.1	Get a list of volume groups on your vpath devices	19

3.2	Run “vp2hd” on Each Volume Group	22

3.3	Varyoff the Volume Groups	23

3.4	OPTIONAL STEP - Add or Remove Hardware or Software	23

3.5	OPTIONAL STEP - Remove all hdisk and vpath devices.	24

3.6	Run cfgmgr “N” times  (“N” is the number of paths of a DPO device)	27

3.7	Unconfigure all DPO Devices	39

3.8	Configure all DPO Devices	40

3.9	Run “lsvpcfg” to Check the Status	41

3.10	Varyon the Volume Groups	47

3.11	Run “hd2vp” on Each Volume Group	47

3.12	Verification	48

Section 4: Items of Interest	55

4.1	Making Volume Groups – Special Command	55

4.2	Making Volume Groups – Again!	55

4.3	Extending Volume Groups – Special Command	56

4.4	Extending Volume Groups	56

4.5	dpovgfix – Special Circumstances	57

4.6	Upgrading from DPO V 1.2.0	58

4.7	Equating LUNs back to Hdisks	58

4.8	Alternative Method to Find Hdisks	59

4.9	Some Very Nice Utilities	59

4.10	Web Pages / Books of Interest	64

#### Section 1:  Installation Procedures

Additional Documentation & Business Reasons for Data Path Optimizer(

This document is current as of 8/28/2000.  Future revisions may work differently.  (Note that this document was implemented in a SP environment.  If you do not have a SP environment, obviously you do not want to use the “dsh” command.  For those not familiar with a SP environment, the “dsh –av” means to execute the distributed shell command to all available nodes in the SP environment.  This is a quick way to run a single command on many machines at one time.  The “pcp –av –p command will implement a parallel copy to all available nodes and preserve the permission bits of the original copy.)

Note that this document is based on SSD / DPO V1.2.0.  In 1999, Data Path Optimizer (DPO) was the official name for the software referenced in this document.  During the first quarter of 2000, IBM began to include this software at no additional charge to Enterprise Storage Server (ESS 2105) customers.  The no charge version of this software (same code, different name) is called Subsystem Device Driver (SDD).  This document may use the names interchangeably.

The major two reasons to install Subsystem Device Driver / Data Path Optimizer on your machines are:

- Load balancing – Data Path Optimizer automatically adjusts data routing for optimum performance.

- Path failover and online recovery – Data Path Optimizer automatically and nondisruptively redirects data to an alternate data path.

ESS, Fiber, and SDD/DPO Software

In order to make your “lsdev –Ccdisk” output show that your disks are truly 2105 disks, you will need to install the ibm2105.rte fileset.  In order to make SDD / DPO work, you will need to install dpo.ibmssd.rte.432 (on an AIX 4.3.1, 4.3.2 or 4.3.3 system).  In order to get your Fiber adapters (FC 6227) to work in your RS/6000 and/or RS/6000 SP node, you will need all of the filesets in the table below.  The versions that are in the table below were current on 8/08/2000.

| Fileset | Current Version (as of 8/08/2000) | Source |
| --- | --- | --- |
| devices.fcp.disk.array.diag | 4.3.3.10 | Gigabit Fiber Channel PCI Adapter Software Upgrade CD-ROM |
| devices.fcp.disk.array.rte | 4.3.3.10 | Gigabit Fiber Channel PCI Adapter Software Upgrade CD-ROM |
| devices.fcp.disk.rte | 4.3.3.11 | Gigabit Fiber Channel PCI Adapter Software Upgrade CD-ROM |
| devices.scsi.scarray.rte | 4.3.3.10 | Gigabit Fiber Channel PCI Adapter Software Upgrade CD-ROM |
| ibm2105.rte | 32.6.100.3 | http://ssddom01.storage.ibm.com/techsup/swtechsup.nsf/support/sddupdates |
| dpo.ibmssd.rte.432 | 1.2.0.0 | http://ssddom01.storage.ibm.com/techsup/swtechsup.nsf/support/sddupdates |

The base level filesets for the “devices” filesets above are on a CD-ROM named "Gigabit Fiber Channel PCI Adapter Software Upgrade".  (Version 1.3, P/N 00P2189, EC D72835, CL: 0001).  This CD-ROM comes with your Fiber Channel PCI Adapter (or your system that contains the adapter).  Updates for the “devices” filesets can be obtained from the following AIX service FTP site:

ftp://service.software.ibm.com/aix/fixes/v4/devices/.

Other updates can be found by navigating around this FTP site.

The software for SDD / Data Path Optimizer and the “ibm2105.rte” fileset can be obtained from the following website:

http://ssddom01.storage.ibm.com/techsup/swtechsup.nsf/support/sddupdates

Today, it is in the section “Host Attachment Scripts for SHARK.  The link says “Download AIX Script”.

Install ESS (IBM2105) Software (without Fiber)

Install the fileset “ibm2105. rte”.  In a SP environment, you may want to do the following:

dsh –av mount cws:/spdata/sys1/install/aix433/lppsource  /mnt

vi /tmp/install.ibm2105 # Put in the few lines below.

chmod 700 /tmp/install.ibm2105

pcp –av –p /tmp/install.ibm2105

dsh –av /tmp/install.ibm2105

#!/bin/ksh
##################################################
# First, mount the lppsource to /mnt
# mount wcws:/spdata/sys1/install/aix433/lppsource /mnt
# You may want to "dsh" the mount command.
##################################################

JOB="${0##*/}"
mkdir /tmp/joblog 2>/dev/null
JOBLOG=/tmp/joblog/${JOB}.joblog
{
	InputDir="/mnt"
	FileSet="ibm2105.rte"
	/usr/sbin/installp -acgNqQwXd ${InputDir} ${FileSet}
}  2>&1 | tee ${JOBLOG}    #Review the output and save it for later review

Sample lslpp output:

lslpp -l ibm2105.rte

Fileset                      Level  State      Description

----------------------------------------------------------------------------

Path: /usr/lib/objrepos

ibm2105.rte             32.6.100.3  COMMITTED  IBM 2105 runtime for AIX

Path: /etc/objrepos

ibm2105.rte             32.6.100.3  COMMITTED  IBM 2105 runtime for AIX

Install ESS (IBM2105) Software (with Fiber)

In order to get the IBM Enterprise Storage Server (IBM 2105) to work via Fiber Channel connections, you will need several filesets.  These are listed in the 1.2 section above.  (Note that the DPO  / SDD software will be installed in a separate section.)

In a SP environment, you may want to do the following:

dsh –av mount cws:/spdata/sys1/install/aix433/lppsource  /mnt

vi /tmp/install.ibm2105 # Put in the few lines below.

chmod 700 /tmp/install.ibm2105

pcp –av –p /tmp/install.ibm2105

dsh –av /tmp/install.ibm2105

#!/bin/ksh
##################################################
# First, mount the lppsource to /mnt
# mount wcws:/spdata/sys1/install/aix433/lppsource /mnt
# You may want to "dsh" the mount command.
##################################################

JOB="${0##*/}"
mkdir /tmp/joblog 2>/dev/null
JOBLOG=/tmp/joblog/${JOB}.joblog
{
	InputDir="/mnt"
      FileSets=" devices.fcp.disk.array.diag \
      devices.fcp.disk.array.rte \
      devices.fcp.disk.rte devices.scsi.scarray.rte \
      ibm2105.rte"
	/usr/sbin/installp -acgNqQwXd ${InputDir} ${FileSets}
}  2>&1 | tee ${JOBLOG}    #Review the output and save it for later review

Run cfgmgr –v

Now, you are ready to configure them:

dsh –av cfgmgr -v

NOTE:  There is an undocumented option on cfgmgr in AIX 4.3.3  (At least it’s not in the man pages).  The –S option will run cfgmgr serially!  Although you would not want to twin-tail and use DPO, since that is not supported at the time of this document’s creating, you should know that cfgmgr in AIX 4.3.3 runs in parallel down each SCSI adapter.  Therefore, since the second SCSI adapter could finish earlier than your first SCSI adapter, your disk drives may be in a weird order.  This is usually not a big deal, unless you are doing a rollout of lots of machines that should look exactly alike, or UNLESS you are twin tailing and you want the hdisk numbers to be in the same order on each machine.  In order to force the disk drives to be configured in the order of the scsi adapters, you can remove all of the disk drives and run “cfgmgr –S”.

Verify IBM Disk Drive Connectivity

Run the following command:

lsdev -Ccdisk

hdisk0  Available 10-68-00-0,0 16 Bit LVD SCSI Disk Drive

hdisk1  Available 10-68-00-1,0 16 Bit LVD SCSI Disk Drive

hdisk2  Available 10-68-00-2,0 16 Bit LVD SCSI Disk Drive

hdisk3  Available 10-68-00-3,0 16 Bit LVD SCSI Disk Drive

hdisk4  Available 10-80-01     IBM FC 2105F20

hdisk5  Available 10-80-01     IBM FC 2105F20

hdisk6  Available 10-80-01     IBM FC 2105F20

hdisk7  Available 10-80-01     IBM FC 2105F20

hdisk8  Available 10-80-01     IBM FC 2105F20

hdisk9  Available 10-80-01     IBM FC 2105F20

hdisk10 Available 10-80-01     IBM FC 2105F20

hdisk11 Available 10-80-01     IBM FC 2105F20

hdisk12 Available 10-80-01     IBM FC 2105F20

hdisk13 Available 10-80-01     IBM FC 2105F20

hdisk14 Available 10-80-01     IBM FC 2105F20

hdisk15 Available 10-80-01     IBM FC 2105F20

hdisk16 Available 10-80-01     IBM FC 2105F20

hdisk17 Available 10-80-01     IBM FC 2105F20

hdisk18 Available 10-80-01     IBM FC 2105F20

hdisk19 Available 10-80-01     IBM FC 2105F20

hdisk20 Available 10-80-01     IBM FC 2105F20

hdisk21 Available 10-80-01     IBM FC 2105F20

hdisk22 Available 10-80-01     IBM FC 2105F20

hdisk23 Available 10-80-01     IBM FC 2105F20

hdisk24 Available 10-80-01     IBM FC 2105F20

hdisk25 Available 10-80-01     IBM FC 2105F20

hdisk26 Available 10-80-01     IBM FC 2105F20

hdisk27 Available 10-80-01     IBM FC 2105F20

hdisk28 Available 10-80-01     IBM FC 2105F20

hdisk29 Available 10-80-01     IBM FC 2105F20

hdisk30 Available 10-80-01     IBM FC 2105F20

hdisk31 Available 10-80-01     IBM FC 2105F20

hdisk32 Available 10-80-01     IBM FC 2105F20

hdisk33 Available 10-80-01     IBM FC 2105F20

hdisk34 Available 10-80-01     IBM FC 2105F20

hdisk35 Available 10-80-01     IBM FC 2105F20

hdisk36 Available 20-58-01     IBM FC 2105F20

hdisk37 Available 20-58-01     IBM FC 2105F20

hdisk38 Available 20-58-01     IBM FC 2105F20

hdisk39 Available 20-58-01     IBM FC 2105F20

hdisk40 Available 20-58-01     IBM FC 2105F20

hdisk41 Available 20-58-01     IBM FC 2105F20

hdisk42 Available 20-58-01     IBM FC 2105F20

hdisk43 Available 20-58-01     IBM FC 2105F20

hdisk44 Available 20-58-01     IBM FC 2105F20

hdisk45 Available 20-58-01     IBM FC 2105F20

hdisk46 Available 20-58-01     IBM FC 2105F20

hdisk47 Available 20-58-01     IBM FC 2105F20

hdisk48 Available 20-58-01     IBM FC 2105F20

hdisk49 Available 20-58-01     IBM FC 2105F20

hdisk50 Available 20-58-01     IBM FC 2105F20

hdisk51 Available 20-58-01     IBM FC 2105F20

hdisk52 Available 20-58-01     IBM FC 2105F20

hdisk53 Available 20-58-01     IBM FC 2105F20

hdisk54 Available 20-58-01     IBM FC 2105F20

hdisk55 Available 20-58-01     IBM FC 2105F20

hdisk56 Available 20-58-01     IBM FC 2105F20

hdisk57 Available 20-58-01     IBM FC 2105F20

hdisk58 Available 20-58-01     IBM FC 2105F20

hdisk59 Available 20-58-01     IBM FC 2105F20

hdisk60 Available 20-58-01     IBM FC 2105F20

hdisk61 Available 20-58-01     IBM FC 2105F20

hdisk62 Available 20-58-01     IBM FC 2105F20

hdisk63 Available 20-58-01     IBM FC 2105F20

hdisk64 Available 20-58-01     IBM FC 2105F20

hdisk65 Available 20-58-01     IBM FC 2105F20

hdisk66 Available 20-58-01     IBM FC 2105F20

hdisk67 Available 20-58-01     IBM FC 2105F20

If your output says “Other SCSI disk” (similar to the following),

hdisk26 Available 10-80-01     Other SCSI Disk Drive

hdisk27 Available 10-80-01     Other SCSI Disk Drive

hdisk28 Available 10-80-01     Other SCSI Disk Drive

hdisk29 Available 10-80-01     Other SCSI Disk Drive

hdisk30 Available 10-80-01     Other SCSI Disk Drive

hdisk31 Available 10-80-01     Other SCSI Disk Drive

instead of “IBM 2105F20” (or something similar), then you have not successfully completed the installation of the IBM 2105 software and/or your disk connectivity needs more work.

Install Data Path Optimizer Code

Install the fileset “dpo.ibmssd.rte.432”.  In a SP environment, you may want to do the following:

dsh –av mount cws:/spdata/sys1/install/aix433/lppsource  /mnt

vi /tmp/install.dpo # Put in the few lines below.

chmod 700 /tmp/install.dpo

pcp –av –p /tmp/install.dpo

dsh –av /tmp/install.dpo

#!/bin/ksh
##################################################
# First, mount the lppsource to /mnt
# mount wcws:/spdata/sys1/install/aix433/lppsource /mnt
# You may want to "dsh" the mount command.
##################################################

JOB="${0##*/}"
mkdir /tmp/joblog 2>/dev/null
JOBLOG=/tmp/joblog/${JOB}.joblog
{
	InputDir="/mnt"
	FileSet="dpo.ibmssd.rte.432"
	/usr/sbin/installp -acgNqQwXd ${InputDir} ${FileSet}
}  2>&1 | tee ${JOBLOG}    #Review the output and save it for later review

Sample lslpp output:

lslpp -l dpo.ibmssd.rte.432

Fileset                      Level  State      Description

----------------------------------------------------------------------------

Path: /usr/lib/objrepos

dpo.ibmssd.rte.432         1.2.0.0  COMMITTED  IBM Subsystem Device Driver

runtime for AIX V432

Path: /etc/objrepos

dpo.ibmssd.rte.432         1.2.0.0  COMMITTED  IBM Subsystem Device Driver

runtime for AIX V432

NOTE:  The new “IBM Subsystem Device Driver (SDD)” code is the old DPO with the same fileset name, but with a new revision.  If you were familiar with the old DPO, then most things should look familiar to you!

Run cfgmgr –v

Your disk drives should be recognized as ESS disk drives at this point.  Now, you will configure your DPO devices (vpath devices) to take advantage of Data Path Optimizer.

dsh –av cfgmgr -v

In case you missed this note above, I am repeating it!

NOTE:  There is an undocumented option on cfgmgr in AIX 4.3.3  (At least it’s not in the man pages).  The –S option will run cfgmgr serially!  Although you would not want to twin-tail and use DPO, since that is not supported at the time of this document’s creating, you should know that cfgmgr in AIX 4.3.3 runs in parallel down each SCSI adapter.  Therefore, since the second SCSI adapter could finish earlier than your first SCSI adapter, your disk drives may be in a weird order.  This is usually not a big deal, unless you are doing a rollout of lots of machines that should look exactly alike, or UNLESS you are twin tailing and you want the hdisk numbers to be in the same order on each machine.  In order to force the disk drives to be configured in the order of the scsi adapters, you can remove all of the disk drives and run “cfgmgr –S”.

Afterwards, run the following command:

lsdev –Ccdisk

hdisk0  Available 10-68-00-0,0 16 Bit LVD SCSI Disk Drive

hdisk1  Available 10-68-00-1,0 16 Bit LVD SCSI Disk Drive

hdisk2  Available 10-68-00-2,0 16 Bit LVD SCSI Disk Drive

hdisk3  Available 10-68-00-3,0 16 Bit LVD SCSI Disk Drive

hdisk4  Available 10-80-01     IBM FC 2105F20

hdisk5  Available 10-80-01     IBM FC 2105F20

hdisk6  Available 10-80-01     IBM FC 2105F20

hdisk7  Available 10-80-01     IBM FC 2105F20

hdisk8  Available 10-80-01     IBM FC 2105F20

hdisk9  Available 10-80-01     IBM FC 2105F20

hdisk10 Available 10-80-01     IBM FC 2105F20

hdisk11 Available 10-80-01     IBM FC 2105F20

hdisk12 Available 10-80-01     IBM FC 2105F20

hdisk13 Available 10-80-01     IBM FC 2105F20

hdisk14 Available 10-80-01     IBM FC 2105F20

hdisk15 Available 10-80-01     IBM FC 2105F20

hdisk16 Available 10-80-01     IBM FC 2105F20

hdisk17 Available 10-80-01     IBM FC 2105F20

hdisk18 Available 10-80-01     IBM FC 2105F20

hdisk19 Available 10-80-01     IBM FC 2105F20

hdisk20 Available 10-80-01     IBM FC 2105F20

hdisk21 Available 10-80-01     IBM FC 2105F20

hdisk22 Available 10-80-01     IBM FC 2105F20

hdisk23 Available 10-80-01     IBM FC 2105F20

hdisk24 Available 10-80-01     IBM FC 2105F20

hdisk25 Available 10-80-01     IBM FC 2105F20

hdisk26 Available 10-80-01     IBM FC 2105F20

hdisk27 Available 10-80-01     IBM FC 2105F20

hdisk28 Available 10-80-01     IBM FC 2105F20

hdisk29 Available 10-80-01     IBM FC 2105F20

hdisk30 Available 10-80-01     IBM FC 2105F20

hdisk31 Available 10-80-01     IBM FC 2105F20

hdisk32 Available 10-80-01     IBM FC 2105F20

hdisk33 Available 10-80-01     IBM FC 2105F20

hdisk34 Available 10-80-01     IBM FC 2105F20

hdisk35 Available 10-80-01     IBM FC 2105F20

hdisk36 Available 20-58-01     IBM FC 2105F20

hdisk37 Available 20-58-01     IBM FC 2105F20

hdisk38 Available 20-58-01     IBM FC 2105F20

hdisk39 Available 20-58-01     IBM FC 2105F20

hdisk40 Available 20-58-01     IBM FC 2105F20

hdisk41 Available 20-58-01     IBM FC 2105F20

hdisk42 Available 20-58-01     IBM FC 2105F20

hdisk43 Available 20-58-01     IBM FC 2105F20

hdisk44 Available 20-58-01     IBM FC 2105F20

hdisk45 Available 20-58-01     IBM FC 2105F20

hdisk46 Available 20-58-01     IBM FC 2105F20

hdisk47 Available 20-58-01     IBM FC 2105F20

hdisk48 Available 20-58-01     IBM FC 2105F20

hdisk49 Available 20-58-01     IBM FC 2105F20

hdisk50 Available 20-58-01     IBM FC 2105F20

hdisk51 Available 20-58-01     IBM FC 2105F20

hdisk52 Available 20-58-01     IBM FC 2105F20

hdisk53 Available 20-58-01     IBM FC 2105F20

hdisk54 Available 20-58-01     IBM FC 2105F20

hdisk55 Available 20-58-01     IBM FC 2105F20

hdisk56 Available 20-58-01     IBM FC 2105F20

hdisk57 Available 20-58-01     IBM FC 2105F20

hdisk58 Available 20-58-01     IBM FC 2105F20

hdisk59 Available 20-58-01     IBM FC 2105F20

hdisk60 Available 20-58-01     IBM FC 2105F20

hdisk61 Available 20-58-01     IBM FC 2105F20

hdisk62 Available 20-58-01     IBM FC 2105F20

hdisk63 Available 20-58-01     IBM FC 2105F20

hdisk64 Available 20-58-01     IBM FC 2105F20

hdisk65 Available 20-58-01     IBM FC 2105F20

hdisk66 Available 20-58-01     IBM FC 2105F20

hdisk67 Available 20-58-01     IBM FC 2105F20

vpath0  Available              Data Path Optimizer Pseudo Device Driver

vpath1  Available              Data Path Optimizer Pseudo Device Driver

vpath2  Available              Data Path Optimizer Pseudo Device Driver

vpath3  Available              Data Path Optimizer Pseudo Device Driver

vpath4  Available              Data Path Optimizer Pseudo Device Driver

vpath5  Available              Data Path Optimizer Pseudo Device Driver

vpath6  Available              Data Path Optimizer Pseudo Device Driver

vpath7  Available              Data Path Optimizer Pseudo Device Driver

vpath8  Available              Data Path Optimizer Pseudo Device Driver

vpath9  Available              Data Path Optimizer Pseudo Device Driver

vpath10 Available              Data Path Optimizer Pseudo Device Driver

vpath11 Available              Data Path Optimizer Pseudo Device Driver

vpath12 Available              Data Path Optimizer Pseudo Device Driver

vpath13 Available              Data Path Optimizer Pseudo Device Driver

vpath14 Available              Data Path Optimizer Pseudo Device Driver

vpath15 Available              Data Path Optimizer Pseudo Device Driver

vpath16 Available              Data Path Optimizer Pseudo Device Driver

vpath17 Available              Data Path Optimizer Pseudo Device Driver

vpath18 Available              Data Path Optimizer Pseudo Device Driver

vpath19 Available              Data Path Optimizer Pseudo Device Driver

vpath20 Available              Data Path Optimizer Pseudo Device Driver

vpath21 Available              Data Path Optimizer Pseudo Device Driver

vpath22 Available              Data Path Optimizer Pseudo Device Driver

vpath23 Available              Data Path Optimizer Pseudo Device Driver

vpath24 Available              Data Path Optimizer Pseudo Device Driver

vpath25 Available              Data Path Optimizer Pseudo Device Driver

vpath26 Available              Data Path Optimizer Pseudo Device Driver

vpath27 Available              Data Path Optimizer Pseudo Device Driver

vpath28 Available              Data Path Optimizer Pseudo Device Driver

vpath29 Available              Data Path Optimizer Pseudo Device Driver

vpath30 Available              Data Path Optimizer Pseudo Device Driver

vpath31 Available              Data Path Optimizer Pseudo Device Driver

For this particular machine, I had 4 internal SCSI drives, and 32 usable external IBM ESS drives.  You will notice that each of those 32 drives is visible down the 10-80 Fiber path and down the 20-58 path.

lsdev –C –t df1000f7

fcs0 Available 10-80 FC Adapter

fcs1 Available 20-58 FC Adapter

The “vpath” devices can see the disk drives down both interfaces.  In this case, I will use vpath0 through vpath15 for volume group creation.

NOTE:  To just see the vpath devices, run the command “lsdev –Ctvpath”.

lsdev –Ctvpath

vpath0  Available  Data Path Optimizer Pseudo Device Driver

vpath1  Available  Data Path Optimizer Pseudo Device Driver

vpath2  Available  Data Path Optimizer Pseudo Device Driver

vpath3  Available  Data Path Optimizer Pseudo Device Driver

vpath4  Available  Data Path Optimizer Pseudo Device Driver

vpath5  Available  Data Path Optimizer Pseudo Device Driver

vpath6  Available  Data Path Optimizer Pseudo Device Driver

vpath7  Available  Data Path Optimizer Pseudo Device Driver

vpath8  Available  Data Path Optimizer Pseudo Device Driver

vpath9  Available  Data Path Optimizer Pseudo Device Driver

vpath10 Available  Data Path Optimizer Pseudo Device Driver

vpath11 Available  Data Path Optimizer Pseudo Device Driver

vpath12 Available  Data Path Optimizer Pseudo Device Driver

vpath13 Available  Data Path Optimizer Pseudo Device Driver

vpath14 Available  Data Path Optimizer Pseudo Device Driver

vpath15 Available  Data Path Optimizer Pseudo Device Driver

vpath16 Available  Data Path Optimizer Pseudo Device Driver

vpath17 Available  Data Path Optimizer Pseudo Device Driver

vpath18 Available  Data Path Optimizer Pseudo Device Driver

vpath19 Available  Data Path Optimizer Pseudo Device Driver

vpath20 Available  Data Path Optimizer Pseudo Device Driver

vpath21 Available  Data Path Optimizer Pseudo Device Driver

vpath22 Available  Data Path Optimizer Pseudo Device Driver

vpath23 Available  Data Path Optimizer Pseudo Device Driver

vpath24 Available  Data Path Optimizer Pseudo Device Driver

vpath25 Available  Data Path Optimizer Pseudo Device Driver

vpath26 Available  Data Path Optimizer Pseudo Device Driver

vpath27 Available  Data Path Optimizer Pseudo Device Driver

vpath28 Available  Data Path Optimizer Pseudo Device Driver

vpath29 Available  Data Path Optimizer Pseudo Device Driver

vpath30 Available  Data Path Optimizer Pseudo Device Driver

vpath31 Available  Data Path Optimizer Pseudo Device Driver

Check the status of your disk drives

In order to check on your disk drives, log into a node and run the following command:

datapath query device

Total Devices : 32

DEV#:   0  DEVICE NAME: vpath0  TYPE: 2105F20   SERIAL: 60D15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk4     OPEN   NORMAL       7606          0

1                 fscsi1/hdisk36     OPEN   NORMAL       7665          0

DEV#:   1  DEVICE NAME: vpath1  TYPE: 2105F20   SERIAL: 60E15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk5     OPEN   NORMAL       7659          0

1                 fscsi1/hdisk37     OPEN   NORMAL       7612          0

DEV#:   2  DEVICE NAME: vpath2  TYPE: 2105F20   SERIAL: 60F15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk6     OPEN   NORMAL       7543          0

1                 fscsi1/hdisk38     OPEN   NORMAL       7728          0

DEV#:   3  DEVICE NAME: vpath3  TYPE: 2105F20   SERIAL: 61015244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk7     OPEN   NORMAL       7688          0

1                 fscsi1/hdisk39     OPEN   NORMAL       7583          0

DEV#:   4  DEVICE NAME: vpath4  TYPE: 2105F20   SERIAL: 61115244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk8     OPEN   NORMAL       7592          0

1                 fscsi1/hdisk40     OPEN   NORMAL       7679          0

DEV#:   5  DEVICE NAME: vpath5  TYPE: 2105F20   SERIAL: 40C15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk9     OPEN   NORMAL        964          0

1                 fscsi1/hdisk41     OPEN   NORMAL        973          0

DEV#:   6  DEVICE NAME: vpath6  TYPE: 2105F20   SERIAL: 40D15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk10     OPEN   NORMAL        959          0

1                 fscsi1/hdisk42     OPEN   NORMAL        978          0

DEV#:   7  DEVICE NAME: vpath7  TYPE: 2105F20   SERIAL: 40E15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk11     OPEN   NORMAL        999          0

1                 fscsi1/hdisk43     OPEN   NORMAL        938          0

DEV#:   8  DEVICE NAME: vpath8  TYPE: 2105F20   SERIAL: 40F15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk12     OPEN   NORMAL        995          0

1                 fscsi1/hdisk44     OPEN   NORMAL        942          0

DEV#:   9  DEVICE NAME: vpath9  TYPE: 2105F20   SERIAL: 41015244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk13     OPEN   NORMAL        971          0

1                 fscsi1/hdisk45     OPEN   NORMAL        966          0

DEV#:  10  DEVICE NAME: vpath10  TYPE: 2105F20   SERIAL: 41115244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk14     OPEN   NORMAL        947          0

1                 fscsi1/hdisk46     OPEN   NORMAL        964          0

DEV#:  11  DEVICE NAME: vpath11  TYPE: 2105F20   SERIAL: 70B15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk15     OPEN   NORMAL        973          0

1                 fscsi1/hdisk47     OPEN   NORMAL        938          0

DEV#:  12  DEVICE NAME: vpath12  TYPE: 2105F20   SERIAL: 70C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk16     OPEN   NORMAL        947          0

1                 fscsi1/hdisk48     OPEN   NORMAL        964          0

DEV#:  13  DEVICE NAME: vpath13  TYPE: 2105F20   SERIAL: 70D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk17     OPEN   NORMAL        970          0

1                 fscsi1/hdisk49     OPEN   NORMAL        941          0

DEV#:  14  DEVICE NAME: vpath14  TYPE: 2105F20   SERIAL: 70E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk18     OPEN   NORMAL        994          0

1                 fscsi1/hdisk50     OPEN   NORMAL        917          0

DEV#:  15  DEVICE NAME: vpath15  TYPE: 2105F20   SERIAL: 20C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk19     OPEN   NORMAL        925          0

1                 fscsi1/hdisk51     OPEN   NORMAL        986          0

DEV#:  16  DEVICE NAME: vpath16  TYPE: 2105F20   SERIAL: 20D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk20     OPEN   NORMAL        956          0

1                 fscsi1/hdisk52     OPEN   NORMAL        955          0

DEV#:  17  DEVICE NAME: vpath17  TYPE: 2105F20   SERIAL: 20E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk21     OPEN   NORMAL        983          0

1                 fscsi1/hdisk53     OPEN   NORMAL        928          0

DEV#:  18  DEVICE NAME: vpath18  TYPE: 2105F20   SERIAL: 50B15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk22     OPEN   NORMAL        929          0

1                 fscsi1/hdisk54     OPEN   NORMAL        982          0

DEV#:  19  DEVICE NAME: vpath19  TYPE: 2105F20   SERIAL: 50C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk23     OPEN   NORMAL        930          0

1                 fscsi1/hdisk55     OPEN   NORMAL        981          0

DEV#:  20  DEVICE NAME: vpath20  TYPE: 2105F20   SERIAL: 50D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk24     OPEN   NORMAL        984          0

1                 fscsi1/hdisk56     OPEN   NORMAL        953          0

DEV#:  21  DEVICE NAME: vpath21  TYPE: 2105F20   SERIAL: 00C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk25     OPEN   NORMAL        981          0

1                 fscsi1/hdisk57     OPEN   NORMAL        956          0

DEV#:  22  DEVICE NAME: vpath22  TYPE: 2105F20   SERIAL: 00D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk26     OPEN   NORMAL        960          0

1                 fscsi1/hdisk58     OPEN   NORMAL        977          0

DEV#:  23  DEVICE NAME: vpath23  TYPE: 2105F20   SERIAL: 00E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk27     OPEN   NORMAL        967          0

1                 fscsi1/hdisk59     OPEN   NORMAL        970          0

DEV#:  24  DEVICE NAME: vpath24  TYPE: 2105F20   SERIAL: 30C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk28     OPEN   NORMAL        960          0

1                 fscsi1/hdisk60     OPEN   NORMAL        977          0

DEV#:  25  DEVICE NAME: vpath25  TYPE: 2105F20   SERIAL: 30D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk29     OPEN   NORMAL        965          0

1                 fscsi1/hdisk61     OPEN   NORMAL        972          0

DEV#:  26  DEVICE NAME: vpath26  TYPE: 2105F20   SERIAL: 30E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk30     OPEN   NORMAL        968          0

1                 fscsi1/hdisk62     OPEN   NORMAL        969          0

DEV#:  27  DEVICE NAME: vpath27  TYPE: 2105F20   SERIAL: 10915244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk31     OPEN   NORMAL        962          0

1                 fscsi1/hdisk63     OPEN   NORMAL        975          0

DEV#:  28  DEVICE NAME: vpath28  TYPE: 2105F20   SERIAL: 10A15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk32     OPEN   NORMAL        971          0

1                 fscsi1/hdisk64     OPEN   NORMAL        966          0

DEV#:  29  DEVICE NAME: vpath29  TYPE: 2105F20   SERIAL: 10B15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk33     OPEN   NORMAL       1002          0

1                 fscsi1/hdisk65     OPEN   NORMAL        935          0

DEV#:  30  DEVICE NAME: vpath30  TYPE: 2105F20   SERIAL: 10C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk34     OPEN   NORMAL       5400          0

1                 fscsi1/hdisk66     OPEN   NORMAL       5409          0

DEV#:  31  DEVICE NAME: vpath31  TYPE: 2105F20   SERIAL: 10D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk35     OPEN   NORMAL        672          0

1                 fscsi1/hdisk67     OPEN   NORMAL        657          0

The following command will show what hdisk devices can be seen down the vpath devices.

lsvpcfg

vpath0 (Avail pv f1n9100vg) 60D15244 = hdisk4 (Avail ) hdisk36 (Avail )

vpath1 (Avail pv f1n9101vg) 60E15244 = hdisk5 (Avail ) hdisk37 (Avail )

vpath2 (Avail pv f1n9102vg) 60F15244 = hdisk6 (Avail ) hdisk38 (Avail )

vpath3 (Avail pv f1n9103vg) 61015244 = hdisk7 (Avail ) hdisk39 (Avail )

vpath4 (Avail pv f1n9104vg) 61115244 = hdisk8 (Avail ) hdisk40 (Avail )

vpath5 (Avail pv f1n9100vg) 40C15244 = hdisk9 (Avail ) hdisk41 (Avail )

vpath6 (Avail pv f1n9101vg) 40D15244 = hdisk10 (Avail ) hdisk42 (Avail )

vpath7 (Avail pv f1n9102vg) 40E15244 = hdisk11 (Avail ) hdisk43 (Avail )

vpath8 (Avail pv f1n9103vg) 40F15244 = hdisk12 (Avail ) hdisk44 (Avail )

vpath9 (Avail pv f1n9104vg) 41015244 = hdisk13 (Avail ) hdisk45 (Avail )

vpath10 (Avail pv f1n9100vg) 41115244 = hdisk14 (Avail ) hdisk46 (Avail )

vpath11 (Avail pv f1n9101vg) 70B15244 = hdisk15 (Avail ) hdisk47 (Avail )

vpath12 (Avail pv f1n9102vg) 70C15244 = hdisk16 (Avail ) hdisk48 (Avail )

vpath13 (Avail pv f1n9103vg) 70D15244 = hdisk17 (Avail ) hdisk49 (Avail )

vpath14 (Avail pv f1n9104vg) 70E15244 = hdisk18 (Avail ) hdisk50 (Avail )

vpath15 (Avail pv f1n9100vg) 20C15244 = hdisk19 (Avail ) hdisk51 (Avail )

vpath16 (Avail pv f1n9101vg) 20D15244 = hdisk20 (Avail ) hdisk52 (Avail )

vpath17 (Avail pv f1n9102vg) 20E15244 = hdisk21 (Avail ) hdisk53 (Avail )

vpath18 (Avail pv f1n9103vg) 50B15244 = hdisk22 (Avail ) hdisk54 (Avail )

vpath19 (Avail pv f1n9104vg) 50C15244 = hdisk23 (Avail ) hdisk55 (Avail )

vpath20 (Avail pv f1n9100vg) 50D15244 = hdisk24 (Avail ) hdisk56 (Avail )

vpath21 (Avail pv f1n9101vg) 00C15244 = hdisk25 (Avail ) hdisk57 (Avail )

vpath22 (Avail pv f1n9102vg) 00D15244 = hdisk26 (Avail ) hdisk58 (Avail )

vpath23 (Avail pv f1n9103vg) 00E15244 = hdisk27 (Avail ) hdisk59 (Avail )

vpath24 (Avail pv f1n9104vg) 30C15244 = hdisk28 (Avail ) hdisk60 (Avail )

vpath25 (Avail pv f1n9100vg) 30D15244 = hdisk29 (Avail ) hdisk61 (Avail )

vpath26 (Avail pv f1n9101vg) 30E15244 = hdisk30 (Avail ) hdisk62 (Avail )

vpath27 (Avail pv f1n9102vg) 10915244 = hdisk31 (Avail ) hdisk63 (Avail )

vpath28 (Avail pv f1n9103vg) 10A15244 = hdisk32 (Avail ) hdisk64 (Avail )

vpath29 (Avail pv f1n9104vg) 10B15244 = hdisk33 (Avail ) hdisk65 (Avail )

vpath30 (Avail pv f1n9105vg) 10C15244 = hdisk34 (Avail ) hdisk66 (Avail )

vpath31 (Avail pv f1n9105vg) 10D15244 = hdisk35 (Avail ) hdisk67 (Avail )

#### Section 2:  Possible Gotcha

At this installation, we installed three IBM 2105 ESS machines.  Although we did not run into any hardware problems, you may.  When debugging, you may want to delete all of your ESS disk drives and vpath devices.  Be careful.

How to Dig Yourself into a Hole

After you have successfully installed Data Path Optimizer and created a volume group (or anything else that creates PVIDs), you may fall into a trap.  Suppose that you do the following:

Let’s say that for some reason you are doing some testing and you discover that you need to remove all of your external disk devices.  First, you umount all of your filesystems and varyoff all of your volume groups.  Then, you run “rmdev –dl devicename” on all of your external hdisk devices and your vpath devices.

When you finish your testing, you run “cfgmgr” to get your disk drives back.

With many disk configurations, this will get you back to your original disk configuration.  Oops, you are not running those configurations.  You should be careful if you are running SDD / DPO or some other vendors “load balancing” solution in an AIX environment to make sure that you are able to see the underlying hdisks below the “load balancing” disk definitions.  This challenge is NOT unique to SDD / DPO.

Why You are in this Hole

- When you first created your vpath devices, “datapath query device” should show two paths (or more) to each of your vpath devices.

lspv

hdisk34        none                None

hdisk35        none                None

hdisk66        none                None

hdisk67        none                None

vpath30        00014310cb8bbba7    f1n9105vg

vpath31        00014310cb8bc184    f1n9105vg

The above just shows the drives of interest!

A couple of things to note!  One, the “hdisk” devices show “none” in the PVID field.  The PVIDs for these hdisks are deleted from the ODM database when the “mkvg4vp” DPO command is used to create a DPO volume group or the “extendvg4vp” DPO command is used to extend an existing DPO volume group with DPO physical volumes.  Two, the “vpath” devices DO have PVIDs.

2) Then, you remove all of the hdisk and vpath devices.

(You may do this if you are doing some troubleshooting.)

3)  Then you run cfgmgr (this is usually the most sensible way to get your drives back.)

First, you walk fcs0, and you find hdisk34 as PVID 00014310cb8bbba7.  I believe that cfgmgr defaults to “pvid=yes” for all new hdisks.  Then, you walk fcs1, and you find PVID 00014310cb8bbba7.  Well, the “cfgmgr” program is smart enough to know that the original PVID belongs to hdisk34, so the program will NOT configure hdisk67.

After “cfgmgr” configures the hdisks, it will then configure the vpath devices, with only one path to the disk, since there is NOT an hdisk66 to provide an alternate path to the disk drive.

If this happens, then you will still see the vpath devices, but you will not be protected against a fiber adapter failure and you will not get any load balancing, since Data Path Optimizer will only know about the path via fcs0.

In order to get your load balancing features and redundant path features, you will need to proceed with the next chapter.

#### Section 3:  DPO Recovery from PVID Issues

If you find that “datapath query device” only shows one path to your vpath device, or you have PVIDs on the hdisk devices that are associated with your vpath devices, then you need to be here.  Although other combinations may work, this is the combination of commands that I have found to clear up any PVID confusion and get DPO back on track.

Also, if you want to add paths to your DPO devices, then you should follow the steps in this chapter.  For example, you currently have two SCSI adapters going to the ESS, and you wish to add a third SCSI adapter for greater redundancy or greater throughput, then you can follow the steps in this chapter.

NOTE:  The key to this magic is to get AIX to recognize that there is an hdisk on each of the SCSI paths.  If AIX cannot determine the true identity (PVID) of this drive, then AIX thinks that the drive on the 30-70 path and the drive on the 30-68 path are different drives.  IBM Data Path Optimizer is counting on this behavior.  IBM Data Path Optimizer looks at the SCSI LUNS and who knows what else to determine that the drives are really the same drives, and then configures a logical device (vpath#) on top of the two hdisks to provide load balancing and an alternate path to the single disk drive.

NOTE THAT THE FOLLOWING STEPS REQUIRE DOWN TIME!  ALSO NOTE THAT YOU SHOULD BE PROFICIENT IN AIX BEFORE USING THE FOLLOWING PROCEDURES.

Back to the meat of the matter.  In order to recover from wherever you are in SSD/DPO land, try the following steps:

Get a list of volume groups on your vpath devices

You may already know what volume groups are on the vpath disk drives, or you can try the lspv command.  The following is an example of lspv output when the drives are OK.  If you do not have any hdisks or vpath devices, and you do not know the volume groups that were on the disk drives, then skip this step, and hopefully you can figure this out later.

This list will be used in a few of the future steps, so if you figure this out in a later step, then save the list.

lspv

hdisk0         0001463813cb05e1    rootvg

hdisk1         000143109e546712    rootvg

hdisk2         none                None

hdisk3         none                None

hdisk4         none                None

hdisk5         none                None

hdisk6         none                None

hdisk7         none                None

hdisk8         none                None

hdisk9         none                None

hdisk10        none                None

hdisk11        none                None

hdisk12        none                None

hdisk13        none                None

hdisk14        none                None

hdisk15        none                None

hdisk16        none                None

hdisk17        none                None

hdisk18        none                None

hdisk19        none                None

hdisk20        none                None

hdisk21        none                None

hdisk22        none                None

hdisk23        none                None

hdisk24        none                None

hdisk25        none                None

hdisk26        none                None

hdisk27        none                None

hdisk28        none                None

hdisk29        none                None

hdisk30        none                None

hdisk31        none                None

hdisk32        none                None

hdisk33        none                None

hdisk34        none                None

hdisk35        none                None

hdisk36        none                None

hdisk37        none                None

hdisk38        none                None

hdisk39        none                None

hdisk40        none                None

hdisk41        none                None

hdisk42        none                None

hdisk43        none                None

hdisk44        none                None

hdisk45        none                None

hdisk46        none                None

hdisk47        none                None

hdisk48        none                None

hdisk49        none                None

hdisk50        none                None

hdisk51        none                None

hdisk52        none                None

hdisk53        none                None

hdisk54        none                None

hdisk55        none                None

hdisk56        none                None

hdisk57        none                None

hdisk58        none                None

hdisk59        none                None

hdisk60        none                None

hdisk61        none                None

hdisk62        none                None

hdisk63        none                None

hdisk64        none                None

hdisk65        none                None

hdisk66        none                None

hdisk67        none                None

vpath0         00014310cb8b0b60    f1n9100vg

vpath1         00014310cb8b1153    f1n9101vg

vpath2         00014310cb8b16d5    f1n9102vg

vpath3         00014310cb8b1c94    f1n9103vg

vpath4         00014310cb8b22e3    f1n9104vg

vpath5         00014310cb8b28bf    f1n9100vg

vpath6         00014310cb8b2eaf    f1n9101vg

vpath7         00014310cb8b3495    f1n9102vg

vpath8         00014310cb8b3aad    f1n9103vg

vpath9         00014310cb8b40a4    f1n9104vg

vpath10        00014310cb8b4683    f1n9100vg

vpath11        00014310cb8b4c64    f1n9101vg

vpath12        00014310cb8b5210    f1n9102vg

vpath13        00014310cb8b580c    f1n9103vg

vpath14        00014310cb8b5de8    f1n9104vg

vpath15        00014310cb8b63b1    f1n9100vg

vpath16        00014310cb8b6970    f1n9101vg

vpath17        00014310cb8b6f69    f1n9102vg

vpath18        00014310cb8b7564    f1n9103vg

vpath19        00014310cb8b7b71    f1n9104vg

vpath20        00014310cb8b8155    f1n9100vg

vpath21        00014310cb8b8749    f1n9101vg

vpath22        00014310cb8b8d0d    f1n9102vg

vpath23        00014310cb8b92d4    f1n9103vg

vpath24        00014310cb8b98a8    f1n9104vg

vpath25        00014310cb8b9e9b    f1n9100vg

vpath26        00014310cb8ba476    f1n9101vg

vpath27        00014310cb8baa45    f1n9102vg

vpath28        00014310cb8bb00e    f1n9103vg

vpath29        00014310cb8bb5fe    f1n9104vg

vpath30        00014310cb8bbba7    f1n9105vg

vpath31        00014310cb8bc184    f1n9105vg

NOTE:  In this case, the volume group list consists of several volume groups.  Also, note that this is the desired output that we are working towards.  You will see the list go from good, to bad, to better, to the above configuration.

Run “vp2hd” on Each Volume Group

NOTE:  For each volume group, the filesystems have to be unmounted (and all raw logical volumes need to be closed) before running vp2hd.  If not, you will get a message similar to the following:

/usr/sbin/vp2hd f1n9105vg

f1n9105vg

Please unmount following filesystems from f1n9105vg before run this program.

/var/dce

In order to umount the filesystems, I have written a short script, named “fsoff.vg”.  It looks as follows:

#!/bin/ksh

lsvg -l ${1} | tail +3 | awk '{print $7}'|grep -v "N/A" | xargs -i umount {}

/home/sysadm/ESS/fsoff.vg f1n9105vg

Then, you can run the vp2hd for each volume group.

/usr/sbin/vp2hd  f1n9100vg

/usr/sbin/vp2hd  f1n9101vg

/usr/sbin/vp2hd  f1n9102vg

/usr/sbin/vp2hd  f1n9103vg

/usr/sbin/vp2hd  f1n9104vg

/usr/sbin/vp2hd  f1n9105vg	# output for this command below

f1n9105vg

f1n9105vg contains these vpathes and pvids

00014310cb8bbba7 vpath30

00014310cb8bc184 vpath31

hdisk34 is part of vpath30.

hdisk66 is part of vpath30.

hdisk35 is part of vpath31.

hdisk67 is part of vpath31.

f1n9105vg

Deleting pvid of vpath30 from ODM database

Create hdisk34 pvid of 00014310cb8bbba7 in ODM database.

lname=hdisk34, pvid=00014310cb8bbba7

Create hdisk66 pvid of 00014310cb8bbba7 in ODM database.

lname=hdisk66, pvid=00014310cb8bbba7

Deleting pvid of vpath31 from ODM database

Create hdisk35 pvid of 00014310cb8bc184 in ODM database.

lname=hdisk35, pvid=00014310cb8bc184

Create hdisk67 pvid of 00014310cb8bc184 in ODM database.

lname=hdisk67, pvid=00014310cb8bc184

varyon f1n9105vg was successful.

f1n9105vg is converted to hdisks successfully!

Varyoff the Volume Groups

For each volume group that you listed in step 1, you need to run “varyoffvg vgname”.

varyoffvg f1n9100vg

varyoffvg f1n9101vg

varyoffvg f1n9102vg

varyoffvg f1n9103vg

varyoffvg f1n9104vg

varyoffvg f1n9105vg

OPTIONAL STEP - Add or Remove Hardware or Software

If you want to add additional SCSI adapters to your RS/6000 or SP system, I would do that in this step.

- Shut the system down.

- Add the adapters.

- Boot your system.

- Do the next step – Remove all hdisk and vpath devices.

- Continue with the rest of this section.

Also, if you need to install/de-install any SSD/DPO/2105 software, I would do that in this step.

OPTIONAL STEP - Remove all hdisk and vpath devices.

Although you do not have to remove all hdisk and vpath devices, you may find an occasion that you need to or just want to do so.  In that case, this is the step where you should do it.

First, remove the vpath devices as follows:

rmdev –dl dpo –R

vpath0  deleted

vpath1  deleted

vpath2  deleted

vpath3  deleted

vpath4  deleted

vpath5  deleted

vpath6  deleted

vpath7  deleted

vpath8  deleted

vpath9  deleted

vpath10  deleted

vpath11  deleted

vpath12  deleted

vpath13  deleted

vpath14  deleted

vpath15  deleted

vpath16  deleted

vpath17  deleted

vpath18  deleted

vpath19  deleted

vpath20  deleted

vpath21  deleted

vpath22  deleted

vpath23  deleted

vpath24  deleted

vpath25  deleted

vpath26  deleted

vpath27  deleted

vpath28  deleted

vpath29  deleted

vpath30  deleted

vpath31  deleted

dpo  deleted

Then, remove all of the 2105 disk drives.  I have written a short script, named “rmdev.2105”.  It looks as follows:

#!/bin/ksh

for d in $(lsdev -Ccdisk|grep "2105"|awk '{print $1}')

do

rmdev -dl ${d}

done

Put this script in your favorite script directory and run it!

/home/sysadm/ESS/rmdev.2105

hdisk4  deleted

hdisk5  deleted

hdisk6  deleted

hdisk7  deleted

hdisk8  deleted

hdisk9  deleted

hdisk10  deleted

hdisk11  deleted

hdisk12  deleted

hdisk13  deleted

hdisk14  deleted

hdisk15  deleted

hdisk16  deleted

hdisk17  deleted

hdisk18  deleted

hdisk19  deleted

hdisk20  deleted

hdisk21  deleted

hdisk22  deleted

hdisk23  deleted

hdisk24  deleted

hdisk25  deleted

hdisk26  deleted

hdisk27  deleted

hdisk28  deleted

hdisk29  deleted

hdisk30  deleted

hdisk31  deleted

hdisk32  deleted

hdisk33  deleted

hdisk34  deleted

hdisk35  deleted

hdisk36  deleted

hdisk37  deleted

hdisk38  deleted

hdisk39  deleted

hdisk40  deleted

hdisk41  deleted

hdisk42  deleted

hdisk43  deleted

hdisk44  deleted

hdisk45  deleted

hdisk46  deleted

hdisk47  deleted

hdisk48  deleted

hdisk49  deleted

hdisk50  deleted

hdisk51  deleted

hdisk52  deleted

hdisk53  deleted

hdisk54  deleted

hdisk55  deleted

hdisk56  deleted

hdisk57  deleted

hdisk58  deleted

hdisk59  deleted

hdisk60  deleted

hdisk61  deleted

hdisk62  deleted

hdisk63  deleted

hdisk64  deleted

hdisk65  deleted

hdisk66  deleted

hdisk67  deleted

Run cfgmgr “N” times (“N” is the number of paths of a DPO device)

For this step, you need to run cfgmgr (with the –S option or the –v option or without any options) “N” times, where “N” is the maximum number of SCSI paths that you have to a DPO device.  For example, if you have 2 paths to your DPO devices (or ESS) from your RS/6000 or SP node, then you should run cfgmgr twice.  If you have 4 paths, you should run cfgmgr four times.  In the example, I will show some preliminary output between times.  Note that I chose the optional step to remove all of my vpath devices and 2105 hdisk devices also.

cfgmgr	# The first time.

Method error (/etc/methods/cfglft -l lft0 ):

0514-032 Cannot perform the requested function because the

specified device is dependent on another device which does

not exist.

Note that the above method error is fairly common in a SP environment, but will not impact your running system.  Your output may be different.

lspv

hdisk0         0001463813cb05e1    rootvg

hdisk1         000143109e546712    rootvg

hdisk2         none                None

hdisk3         none                None

hdisk4         00014310cb8b7564    f1n9103vg

hdisk5         00014310cb8b7b71    f1n9104vg

hdisk6         00014310cb8b8155    f1n9100vg

hdisk7         00014310cb8b28bf    f1n9100vg

hdisk8         00014310cb8b2eaf    f1n9101vg

hdisk9         00014310cb8b3495    f1n9102vg

hdisk10        00014310cb8b3aad    f1n9103vg

hdisk11        00014310cb8b40a4    f1n9104vg

hdisk12        00014310cb8b4683    f1n9100vg

hdisk13        00014310cb8b4c64    f1n9101vg

hdisk14        00014310cb8b5210    f1n9102vg

hdisk15        00014310cb8b580c    f1n9103vg

hdisk16        00014310cb8b5de8    f1n9104vg

hdisk17        00014310cb8b0b60    f1n9100vg

hdisk18        00014310cb8b1153    f1n9101vg

hdisk19        00014310cb8b16d5    f1n9102vg

hdisk20        00014310cb8b1c94    f1n9103vg

hdisk21        00014310cb8b22e3    f1n9104vg

hdisk22        00014310cb8baa45    f1n9102vg

hdisk23        00014310cb8bb00e    f1n9103vg

hdisk24        00014310cb8bb5fe    f1n9104vg

hdisk25        00014310cb8bbba7    f1n9105vg

hdisk26        00014310cb8bc184    f1n9105vg

hdisk27        00014310cb8b8749    f1n9101vg

hdisk28        00014310cb8b8d0d    f1n9102vg

hdisk29        00014310cb8b92d4    f1n9103vg

hdisk30        00014310cb8b98a8    f1n9104vg

hdisk31        00014310cb8b9e9b    f1n9100vg

hdisk32        00014310cb8ba476    f1n9101vg

hdisk33        00014310cb8b63b1    f1n9100vg

hdisk34        00014310cb8b6970    f1n9101vg

hdisk35        00014310cb8b6f69    f1n9102vg

vpath0         none                None

vpath1         none                None

vpath2         none                None

vpath3         none                None

vpath4         none                None

vpath5         none                None

vpath6         none                None

vpath7         none                None

vpath8         none                None

vpath9         none                None

vpath10        none                None

vpath11        none                None

vpath12        none                None

vpath13        none                None

vpath14        none                None

vpath15        none                None

vpath16        none                None

vpath17        none                None

vpath18        none                None

vpath19        none                None

vpath20        none                None

vpath21        none                None

vpath22        none                None

vpath23        none                None

vpath24        none                None

vpath25        none                None

vpath26        none                None

vpath27        none                None

vpath28        none                None

vpath29        none                None

vpath30        none                None

vpath31        none                None

lsvpcfg

vpath0 (Avail ) 50B15244 = hdisk4 (Avail pv f1n9103vg)

vpath1 (Avail ) 50C15244 = hdisk5 (Avail pv f1n9104vg)

vpath2 (Avail ) 50D15244 = hdisk6 (Avail pv f1n9100vg)

vpath3 (Avail ) 40C15244 = hdisk7 (Avail pv f1n9100vg)

vpath4 (Avail ) 40D15244 = hdisk8 (Avail pv f1n9101vg)

vpath5 (Avail ) 40E15244 = hdisk9 (Avail pv f1n9102vg)

vpath6 (Avail ) 40F15244 = hdisk10 (Avail pv f1n9103vg)

vpath7 (Avail ) 41015244 = hdisk11 (Avail pv f1n9104vg)

vpath8 (Avail ) 41115244 = hdisk12 (Avail pv f1n9100vg)

vpath9 (Avail ) 70B15244 = hdisk13 (Avail pv f1n9101vg)

vpath10 (Avail ) 70C15244 = hdisk14 (Avail pv f1n9102vg)

vpath11 (Avail ) 70D15244 = hdisk15 (Avail pv f1n9103vg)

vpath12 (Avail ) 70E15244 = hdisk16 (Avail pv f1n9104vg)

vpath13 (Avail ) 60D15244 = hdisk17 (Avail pv f1n9100vg)

vpath14 (Avail ) 60E15244 = hdisk18 (Avail pv f1n9101vg)

vpath15 (Avail ) 60F15244 = hdisk19 (Avail pv f1n9102vg)

vpath16 (Avail ) 61015244 = hdisk20 (Avail pv f1n9103vg)

vpath17 (Avail ) 61115244 = hdisk21 (Avail pv f1n9104vg)

vpath18 (Avail ) 10915244 = hdisk22 (Avail pv f1n9102vg)

vpath19 (Avail ) 10A15244 = hdisk23 (Avail pv f1n9103vg)

vpath20 (Avail ) 10B15244 = hdisk24 (Avail pv f1n9104vg)

vpath21 (Avail ) 10C15244 = hdisk25 (Avail pv f1n9105vg)

vpath22 (Avail ) 10D15244 = hdisk26 (Avail pv f1n9105vg)

vpath23 (Avail ) 00C15244 = hdisk27 (Avail pv f1n9101vg)

vpath24 (Avail ) 00D15244 = hdisk28 (Avail pv f1n9102vg)

vpath25 (Avail ) 00E15244 = hdisk29 (Avail pv f1n9103vg)

vpath26 (Avail ) 30C15244 = hdisk30 (Avail pv f1n9104vg)

vpath27 (Avail ) 30D15244 = hdisk31 (Avail pv f1n9100vg)

vpath28 (Avail ) 30E15244 = hdisk32 (Avail pv f1n9101vg)

vpath29 (Avail ) 20C15244 = hdisk33 (Avail pv f1n9100vg)

vpath30 (Avail ) 20D15244 = hdisk34 (Avail pv f1n9101vg)

vpath31 (Avail ) 20E15244 = hdisk35 (Avail pv f1n9102vg)

datapath query device

Total Devices : 32

DEV#:   0  DEVICE NAME: vpath0  TYPE: 2105F20   SERIAL: 50B15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk4    CLOSE   NORMAL          0          0

DEV#:   1  DEVICE NAME: vpath1  TYPE: 2105F20   SERIAL: 50C15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk5    CLOSE   NORMAL          0          0

DEV#:   2  DEVICE NAME: vpath2  TYPE: 2105F20   SERIAL: 50D15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk6    CLOSE   NORMAL          0          0

DEV#:   3  DEVICE NAME: vpath3  TYPE: 2105F20   SERIAL: 40C15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk7    CLOSE   NORMAL          0          0

DEV#:   4  DEVICE NAME: vpath4  TYPE: 2105F20   SERIAL: 40D15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk8    CLOSE   NORMAL          0          0

DEV#:   5  DEVICE NAME: vpath5  TYPE: 2105F20   SERIAL: 40E15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk9    CLOSE   NORMAL          0          0

DEV#:   6  DEVICE NAME: vpath6  TYPE: 2105F20   SERIAL: 40F15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk10    CLOSE   NORMAL          0          0

DEV#:   7  DEVICE NAME: vpath7  TYPE: 2105F20   SERIAL: 41015244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk11    CLOSE   NORMAL          0          0

DEV#:   8  DEVICE NAME: vpath8  TYPE: 2105F20   SERIAL: 41115244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk12    CLOSE   NORMAL          0          0

DEV#:   9  DEVICE NAME: vpath9  TYPE: 2105F20   SERIAL: 70B15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk13    CLOSE   NORMAL          0          0

DEV#:  10  DEVICE NAME: vpath10  TYPE: 2105F20   SERIAL: 70C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk14    CLOSE   NORMAL          0          0

DEV#:  11  DEVICE NAME: vpath11  TYPE: 2105F20   SERIAL: 70D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk15    CLOSE   NORMAL          0          0

DEV#:  12  DEVICE NAME: vpath12  TYPE: 2105F20   SERIAL: 70E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk16    CLOSE   NORMAL          0          0

DEV#:  13  DEVICE NAME: vpath13  TYPE: 2105F20   SERIAL: 60D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk17    CLOSE   NORMAL          0          0

DEV#:  14  DEVICE NAME: vpath14  TYPE: 2105F20   SERIAL: 60E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk18    CLOSE   NORMAL          0          0

DEV#:  15  DEVICE NAME: vpath15  TYPE: 2105F20   SERIAL: 60F15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk19    CLOSE   NORMAL          0          0

DEV#:  16  DEVICE NAME: vpath16  TYPE: 2105F20   SERIAL: 61015244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk20    CLOSE   NORMAL          0          0

DEV#:  17  DEVICE NAME: vpath17  TYPE: 2105F20   SERIAL: 61115244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk21    CLOSE   NORMAL          0          0

DEV#:  18  DEVICE NAME: vpath18  TYPE: 2105F20   SERIAL: 10915244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk22    CLOSE   NORMAL          0          0

DEV#:  19  DEVICE NAME: vpath19  TYPE: 2105F20   SERIAL: 10A15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk23    CLOSE   NORMAL          0          0

DEV#:  20  DEVICE NAME: vpath20  TYPE: 2105F20   SERIAL: 10B15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk24    CLOSE   NORMAL          0          0

DEV#:  21  DEVICE NAME: vpath21  TYPE: 2105F20   SERIAL: 10C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk25    CLOSE   NORMAL          0          0

DEV#:  22  DEVICE NAME: vpath22  TYPE: 2105F20   SERIAL: 10D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk26    CLOSE   NORMAL          0          0

DEV#:  23  DEVICE NAME: vpath23  TYPE: 2105F20   SERIAL: 00C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk27    CLOSE   NORMAL          0          0

DEV#:  24  DEVICE NAME: vpath24  TYPE: 2105F20   SERIAL: 00D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk28    CLOSE   NORMAL          0          0

DEV#:  25  DEVICE NAME: vpath25  TYPE: 2105F20   SERIAL: 00E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk29    CLOSE   NORMAL          0          0

DEV#:  26  DEVICE NAME: vpath26  TYPE: 2105F20   SERIAL: 30C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk30    CLOSE   NORMAL          0          0

DEV#:  27  DEVICE NAME: vpath27  TYPE: 2105F20   SERIAL: 30D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk31    CLOSE   NORMAL          0          0

DEV#:  28  DEVICE NAME: vpath28  TYPE: 2105F20   SERIAL: 30E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk32    CLOSE   NORMAL          0          0

DEV#:  29  DEVICE NAME: vpath29  TYPE: 2105F20   SERIAL: 20C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk33    CLOSE   NORMAL          0          0

DEV#:  30  DEVICE NAME: vpath30  TYPE: 2105F20   SERIAL: 20D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk34    CLOSE   NORMAL          0          0

DEV#:  31  DEVICE NAME: vpath31  TYPE: 2105F20   SERIAL: 20E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk35    CLOSE   NORMAL          0          0

cfgmgr		# Second time.

Method error (/etc/methods/cfglft -l lft0 ):

0514-032 Cannot perform the requested function because the

specified device is dependent on another device which does

not exist.

lspv

hdisk0         0001463813cb05e1    rootvg

hdisk1         000143109e546712    rootvg

hdisk2         none                None

hdisk3         none                None

hdisk4         00014310cb8b7564    f1n9103vg

hdisk5         00014310cb8b7b71    f1n9104vg

hdisk6         00014310cb8b8155    f1n9100vg

hdisk7         00014310cb8b28bf    f1n9100vg

hdisk8         00014310cb8b2eaf    f1n9101vg

hdisk9         00014310cb8b3495    f1n9102vg

hdisk10        00014310cb8b3aad    f1n9103vg

hdisk11        00014310cb8b40a4    f1n9104vg

hdisk12        00014310cb8b4683    f1n9100vg

hdisk13        00014310cb8b4c64    f1n9101vg

hdisk14        00014310cb8b5210    f1n9102vg

hdisk15        00014310cb8b580c    f1n9103vg

hdisk16        00014310cb8b5de8    f1n9104vg

hdisk17        00014310cb8b0b60    f1n9100vg

hdisk18        00014310cb8b1153    f1n9101vg

hdisk19        00014310cb8b16d5    f1n9102vg

hdisk20        00014310cb8b1c94    f1n9103vg

hdisk21        00014310cb8b22e3    f1n9104vg

hdisk22        00014310cb8baa45    f1n9102vg

hdisk23        00014310cb8bb00e    f1n9103vg

hdisk24        00014310cb8bb5fe    f1n9104vg

hdisk25        00014310cb8bbba7    f1n9105vg

hdisk26        00014310cb8bc184    f1n9105vg

hdisk27        00014310cb8b8749    f1n9101vg

hdisk28        00014310cb8b8d0d    f1n9102vg

hdisk29        00014310cb8b92d4    f1n9103vg

hdisk30        00014310cb8b98a8    f1n9104vg

hdisk31        00014310cb8b9e9b    f1n9100vg

hdisk32        00014310cb8ba476    f1n9101vg

hdisk33        00014310cb8b63b1    f1n9100vg

hdisk34        00014310cb8b6970    f1n9101vg

hdisk35        00014310cb8b6f69    f1n9102vg

vpath0         none                None

vpath1         none                None

vpath2         none                None

vpath3         none                None

vpath4         none                None

vpath5         none                None

vpath6         none                None

vpath7         none                None

vpath8         none                None

vpath9         none                None

vpath10        none                None

vpath11        none                None

vpath12        none                None

vpath13        none                None

vpath14        none                None

vpath15        none                None

vpath16        none                None

vpath17        none                None

vpath18        none                None

vpath19        none                None

vpath20        none                None

vpath21        none                None

vpath22        none                None

vpath23        none                None

vpath24        none                None

vpath25        none                None

vpath26        none                None

vpath27        none                None

vpath28        none                None

vpath29        none                None

vpath30        none                None

vpath31        none                None

hdisk36        00014310cb8b7564    f1n9103vg

hdisk37        00014310cb8b7b71    f1n9104vg

hdisk38        00014310cb8b8155    f1n9100vg

hdisk39        00014310cb8b28bf    f1n9100vg

hdisk40        00014310cb8b2eaf    f1n9101vg

hdisk41        00014310cb8b3495    f1n9102vg

hdisk42        00014310cb8b3aad    f1n9103vg

hdisk43        00014310cb8b40a4    f1n9104vg

hdisk44        00014310cb8b4683    f1n9100vg

hdisk45        00014310cb8b4c64    f1n9101vg

hdisk46        00014310cb8b5210    f1n9102vg

hdisk47        00014310cb8b580c    f1n9103vg

hdisk48        00014310cb8b5de8    f1n9104vg

hdisk49        00014310cb8b0b60    f1n9100vg

hdisk50        00014310cb8b1153    f1n9101vg

hdisk51        00014310cb8b16d5    f1n9102vg

hdisk52        00014310cb8b1c94    f1n9103vg

hdisk53        00014310cb8b22e3    f1n9104vg

hdisk54        00014310cb8baa45    f1n9102vg

hdisk55        00014310cb8bb00e    f1n9103vg

hdisk56        00014310cb8bb5fe    f1n9104vg

hdisk57        00014310cb8bbba7    f1n9105vg

hdisk58        00014310cb8bc184    f1n9105vg

hdisk59        00014310cb8b8749    f1n9101vg

hdisk60        00014310cb8b8d0d    f1n9102vg

hdisk61        00014310cb8b92d4    f1n9103vg

hdisk62        00014310cb8b98a8    f1n9104vg

hdisk63        00014310cb8b9e9b    f1n9100vg

hdisk64        00014310cb8ba476    f1n9101vg

hdisk65        00014310cb8b63b1    f1n9100vg

hdisk66        00014310cb8b6970    f1n9101vg

hdisk67        00014310cb8b6f69    f1n9102vg

lsvpcfg

vpath0 (Avail ) 50B15244 = hdisk4 (Avail pv f1n9103vg)

vpath1 (Avail ) 50C15244 = hdisk5 (Avail pv f1n9104vg)

vpath2 (Avail ) 50D15244 = hdisk6 (Avail pv f1n9100vg)

vpath3 (Avail ) 40C15244 = hdisk7 (Avail pv f1n9100vg)

vpath4 (Avail ) 40D15244 = hdisk8 (Avail pv f1n9101vg)

vpath5 (Avail ) 40E15244 = hdisk9 (Avail pv f1n9102vg)

vpath6 (Avail ) 40F15244 = hdisk10 (Avail pv f1n9103vg)

vpath7 (Avail ) 41015244 = hdisk11 (Avail pv f1n9104vg)

vpath8 (Avail ) 41115244 = hdisk12 (Avail pv f1n9100vg)

vpath9 (Avail ) 70B15244 = hdisk13 (Avail pv f1n9101vg)

vpath10 (Avail ) 70C15244 = hdisk14 (Avail pv f1n9102vg)

vpath11 (Avail ) 70D15244 = hdisk15 (Avail pv f1n9103vg)

vpath12 (Avail ) 70E15244 = hdisk16 (Avail pv f1n9104vg)

vpath13 (Avail ) 60D15244 = hdisk17 (Avail pv f1n9100vg)

vpath14 (Avail ) 60E15244 = hdisk18 (Avail pv f1n9101vg)

vpath15 (Avail ) 60F15244 = hdisk19 (Avail pv f1n9102vg)

vpath16 (Avail ) 61015244 = hdisk20 (Avail pv f1n9103vg)

vpath17 (Avail ) 61115244 = hdisk21 (Avail pv f1n9104vg)

vpath18 (Avail ) 10915244 = hdisk22 (Avail pv f1n9102vg)

vpath19 (Avail ) 10A15244 = hdisk23 (Avail pv f1n9103vg)

vpath20 (Avail ) 10B15244 = hdisk24 (Avail pv f1n9104vg)

vpath21 (Avail ) 10C15244 = hdisk25 (Avail pv f1n9105vg)

vpath22 (Avail ) 10D15244 = hdisk26 (Avail pv f1n9105vg)

vpath23 (Avail ) 00C15244 = hdisk27 (Avail pv f1n9101vg)

vpath24 (Avail ) 00D15244 = hdisk28 (Avail pv f1n9102vg)

vpath25 (Avail ) 00E15244 = hdisk29 (Avail pv f1n9103vg)

vpath26 (Avail ) 30C15244 = hdisk30 (Avail pv f1n9104vg)

vpath27 (Avail ) 30D15244 = hdisk31 (Avail pv f1n9100vg)

vpath28 (Avail ) 30E15244 = hdisk32 (Avail pv f1n9101vg)

vpath29 (Avail ) 20C15244 = hdisk33 (Avail pv f1n9100vg)

vpath30 (Avail ) 20D15244 = hdisk34 (Avail pv f1n9101vg)

vpath31 (Avail ) 20E15244 = hdisk35 (Avail pv f1n9102vg)

NOTE:  We are not done yet, because the above output does not look like we want it to look.  It only has one device per vpath.

datapath query device

Total Devices : 32

DEV#:   0  DEVICE NAME: vpath0  TYPE: 2105F20   SERIAL: 50B15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk4    CLOSE   NORMAL          0          0

DEV#:   1  DEVICE NAME: vpath1  TYPE: 2105F20   SERIAL: 50C15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk5    CLOSE   NORMAL          0          0

DEV#:   2  DEVICE NAME: vpath2  TYPE: 2105F20   SERIAL: 50D15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk6    CLOSE   NORMAL          0          0

DEV#:   3  DEVICE NAME: vpath3  TYPE: 2105F20   SERIAL: 40C15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk7    CLOSE   NORMAL          0          0

DEV#:   4  DEVICE NAME: vpath4  TYPE: 2105F20   SERIAL: 40D15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk8    CLOSE   NORMAL          0          0

DEV#:   5  DEVICE NAME: vpath5  TYPE: 2105F20   SERIAL: 40E15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk9    CLOSE   NORMAL          0          0

DEV#:   6  DEVICE NAME: vpath6  TYPE: 2105F20   SERIAL: 40F15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk10    CLOSE   NORMAL          0          0

DEV#:   7  DEVICE NAME: vpath7  TYPE: 2105F20   SERIAL: 41015244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk11    CLOSE   NORMAL          0          0

DEV#:   8  DEVICE NAME: vpath8  TYPE: 2105F20   SERIAL: 41115244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk12    CLOSE   NORMAL          0          0

DEV#:   9  DEVICE NAME: vpath9  TYPE: 2105F20   SERIAL: 70B15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk13    CLOSE   NORMAL          0          0

DEV#:  10  DEVICE NAME: vpath10  TYPE: 2105F20   SERIAL: 70C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk14    CLOSE   NORMAL          0          0

DEV#:  11  DEVICE NAME: vpath11  TYPE: 2105F20   SERIAL: 70D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk15    CLOSE   NORMAL          0          0

DEV#:  12  DEVICE NAME: vpath12  TYPE: 2105F20   SERIAL: 70E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk16    CLOSE   NORMAL          0          0

DEV#:  13  DEVICE NAME: vpath13  TYPE: 2105F20   SERIAL: 60D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk17    CLOSE   NORMAL          0          0

DEV#:  14  DEVICE NAME: vpath14  TYPE: 2105F20   SERIAL: 60E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk18    CLOSE   NORMAL          0          0

DEV#:  15  DEVICE NAME: vpath15  TYPE: 2105F20   SERIAL: 60F15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk19    CLOSE   NORMAL          0          0

DEV#:  16  DEVICE NAME: vpath16  TYPE: 2105F20   SERIAL: 61015244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk20    CLOSE   NORMAL          0          0

DEV#:  17  DEVICE NAME: vpath17  TYPE: 2105F20   SERIAL: 61115244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk21    CLOSE   NORMAL          0          0

DEV#:  18  DEVICE NAME: vpath18  TYPE: 2105F20   SERIAL: 10915244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk22    CLOSE   NORMAL          0          0

DEV#:  19  DEVICE NAME: vpath19  TYPE: 2105F20   SERIAL: 10A15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk23    CLOSE   NORMAL          0          0

DEV#:  20  DEVICE NAME: vpath20  TYPE: 2105F20   SERIAL: 10B15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk24    CLOSE   NORMAL          0          0

DEV#:  21  DEVICE NAME: vpath21  TYPE: 2105F20   SERIAL: 10C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk25    CLOSE   NORMAL          0          0

DEV#:  22  DEVICE NAME: vpath22  TYPE: 2105F20   SERIAL: 10D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk26    CLOSE   NORMAL          0          0

DEV#:  23  DEVICE NAME: vpath23  TYPE: 2105F20   SERIAL: 00C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk27    CLOSE   NORMAL          0          0

DEV#:  24  DEVICE NAME: vpath24  TYPE: 2105F20   SERIAL: 00D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk28    CLOSE   NORMAL          0          0

DEV#:  25  DEVICE NAME: vpath25  TYPE: 2105F20   SERIAL: 00E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk29    CLOSE   NORMAL          0          0

DEV#:  26  DEVICE NAME: vpath26  TYPE: 2105F20   SERIAL: 30C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk30    CLOSE   NORMAL          0          0

DEV#:  27  DEVICE NAME: vpath27  TYPE: 2105F20   SERIAL: 30D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk31    CLOSE   NORMAL          0          0

DEV#:  28  DEVICE NAME: vpath28  TYPE: 2105F20   SERIAL: 30E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk32    CLOSE   NORMAL          0          0

DEV#:  29  DEVICE NAME: vpath29  TYPE: 2105F20   SERIAL: 20C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk33    CLOSE   NORMAL          0          0

DEV#:  30  DEVICE NAME: vpath30  TYPE: 2105F20   SERIAL: 20D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk34    CLOSE   NORMAL          0          0

DEV#:  31  DEVICE NAME: vpath31  TYPE: 2105F20   SERIAL: 20E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk35    CLOSE   NORMAL          0          0

Unconfigure all DPO Devices

For this step, we need to take all DPO devices (vpath devices) to a “Defined” state.

rmdev -l dpo -R

vpath0 Defined

vpath1 Defined

vpath2 Defined

vpath3 Defined

vpath4 Defined

vpath5 Defined

vpath6 Defined

vpath7 Defined

vpath8 Defined

vpath9 Defined

vpath10 Defined

vpath11 Defined

vpath12 Defined

vpath13 Defined

vpath14 Defined

vpath15 Defined

vpath16 Defined

vpath17 Defined

vpath18 Defined

vpath19 Defined

vpath20 Defined

vpath21 Defined

vpath22 Defined

vpath23 Defined

vpath24 Defined

vpath25 Defined

vpath26 Defined

vpath27 Defined

vpath28 Defined

vpath29 Defined

vpath30 Defined

vpath31 Defined

dpo Defined

Configure all DPO Devices

smit

- Then Devices

- Then Data Path Devices

- Define and Configure all Data Path Devices

OR, you can fastpath

smitty datapath_cfgall

COMMAND STATUS

Command: OK            stdout: yes           stderr: no

Before command completion, additional instructions may appear below.

vpath0  Available  Data Path Optimizer Pseudo Device Driver

vpath1  Available  Data Path Optimizer Pseudo Device Driver

vpath2  Available  Data Path Optimizer Pseudo Device Driver

vpath3  Available  Data Path Optimizer Pseudo Device Driver

vpath4  Available  Data Path Optimizer Pseudo Device Driver

vpath5  Available  Data Path Optimizer Pseudo Device Driver

vpath6  Available  Data Path Optimizer Pseudo Device Driver

vpath7  Available  Data Path Optimizer Pseudo Device Driver

vpath8  Available  Data Path Optimizer Pseudo Device Driver

vpath9  Available  Data Path Optimizer Pseudo Device Driver

vpath10 Available  Data Path Optimizer Pseudo Device Driver

vpath11 Available  Data Path Optimizer Pseudo Device Driver

vpath12 Available  Data Path Optimizer Pseudo Device Driver

vpath13 Available  Data Path Optimizer Pseudo Device Driver

vpath14 Available  Data Path Optimizer Pseudo Device Driver

vpath15 Available  Data Path Optimizer Pseudo Device Driver

vpath16 Available  Data Path Optimizer Pseudo Device Driver

vpath17 Available  Data Path Optimizer Pseudo Device Driver

vpath18 Available  Data Path Optimizer Pseudo Device Driver

vpath19 Available  Data Path Optimizer Pseudo Device Driver

vpath20 Available  Data Path Optimizer Pseudo Device Driver

vpath21 Available  Data Path Optimizer Pseudo Device Driver

vpath22 Available  Data Path Optimizer Pseudo Device Driver

vpath23 Available  Data Path Optimizer Pseudo Device Driver

vpath24 Available  Data Path Optimizer Pseudo Device Driver

vpath25 Available  Data Path Optimizer Pseudo Device Driver

vpath26 Available  Data Path Optimizer Pseudo Device Driver

vpath27 Available  Data Path Optimizer Pseudo Device Driver

vpath28 Available  Data Path Optimizer Pseudo Device Driver

vpath29 Available  Data Path Optimizer Pseudo Device Driver

vpath30 Available  Data Path Optimizer Pseudo Device Driver

vpath31 Available  Data Path Optimizer Pseudo Device Driver

F1=Help             F2=Refresh          F3=Cancel           Esc+6=Command

Esc+8=Image         Esc+9=Shell         Esc+0=Exit          /=Find

n=Find Next

(NOTE:  The best I can tell, this is running a “cfgmgr –l dpo” and an “lsdev –Ctvpath” command to show the results.)

Run “lsvpcfg” to Check the Status

lsvpcfg

vpath0 (Avail ) 50B15244 = hdisk4 (Avail pv f1n9103vg) hdisk36 (Avail pv f1n9103vg)

vpath1 (Avail ) 50C15244 = hdisk5 (Avail pv f1n9104vg) hdisk37 (Avail pv f1n9104vg)

vpath2 (Avail ) 50D15244 = hdisk6 (Avail pv f1n9100vg) hdisk38 (Avail pv f1n9100vg)

vpath3 (Avail ) 40C15244 = hdisk7 (Avail pv f1n9100vg) hdisk39 (Avail pv f1n9100vg)

vpath4 (Avail ) 40D15244 = hdisk8 (Avail pv f1n9101vg) hdisk40 (Avail pv f1n9101vg)

vpath5 (Avail ) 40E15244 = hdisk9 (Avail pv f1n9102vg) hdisk41 (Avail pv f1n9102vg)

vpath6 (Avail ) 40F15244 = hdisk10 (Avail pv f1n9103vg) hdisk42 (Avail pv f1n9103vg)

vpath7 (Avail ) 41015244 = hdisk11 (Avail pv f1n9104vg) hdisk43 (Avail pv f1n9104vg)

vpath8 (Avail ) 41115244 = hdisk12 (Avail pv f1n9100vg) hdisk44 (Avail pv f1n9100vg)

vpath9 (Avail ) 70B15244 = hdisk13 (Avail pv f1n9101vg) hdisk45 (Avail pv f1n9101vg)

vpath10 (Avail ) 70C15244 = hdisk14 (Avail pv f1n9102vg) hdisk46 (Avail pv f1n9102vg)

vpath11 (Avail ) 70D15244 = hdisk15 (Avail pv f1n9103vg) hdisk47 (Avail pv f1n9103vg)

vpath12 (Avail ) 70E15244 = hdisk16 (Avail pv f1n9104vg) hdisk48 (Avail pv f1n9104vg)

vpath13 (Avail ) 60D15244 = hdisk17 (Avail pv f1n9100vg) hdisk49 (Avail pv f1n9100vg)

vpath14 (Avail ) 60E15244 = hdisk18 (Avail pv f1n9101vg) hdisk50 (Avail pv f1n9101vg)

vpath15 (Avail ) 60F15244 = hdisk19 (Avail pv f1n9102vg) hdisk51 (Avail pv f1n9102vg)

vpath16 (Avail ) 61015244 = hdisk20 (Avail pv f1n9103vg) hdisk52 (Avail pv f1n9103vg)

vpath17 (Avail ) 61115244 = hdisk21 (Avail pv f1n9104vg) hdisk53 (Avail pv f1n9104vg)

vpath18 (Avail ) 10915244 = hdisk22 (Avail pv f1n9102vg) hdisk54 (Avail pv f1n9102vg)

vpath19 (Avail ) 10A15244 = hdisk23 (Avail pv f1n9103vg) hdisk55 (Avail pv f1n9103vg)

vpath20 (Avail ) 10B15244 = hdisk24 (Avail pv f1n9104vg) hdisk56 (Avail pv f1n9104vg)

vpath21 (Avail ) 10C15244 = hdisk25 (Avail pv f1n9105vg) hdisk57 (Avail pv f1n9105vg)

vpath22 (Avail ) 10D15244 = hdisk26 (Avail pv f1n9105vg) hdisk58 (Avail pv f1n9105vg)

vpath23 (Avail ) 00C15244 = hdisk27 (Avail pv f1n9101vg) hdisk59 (Avail pv f1n9101vg)

vpath24 (Avail ) 00D15244 = hdisk28 (Avail pv f1n9102vg) hdisk60 (Avail pv f1n9102vg)

vpath25 (Avail ) 00E15244 = hdisk29 (Avail pv f1n9103vg) hdisk61 (Avail pv f1n9103vg)

vpath26 (Avail ) 30C15244 = hdisk30 (Avail pv f1n9104vg) hdisk62 (Avail pv f1n9104vg)

vpath27 (Avail ) 30D15244 = hdisk31 (Avail pv f1n9100vg) hdisk63 (Avail pv f1n9100vg)

vpath28 (Avail ) 30E15244 = hdisk32 (Avail pv f1n9101vg) hdisk64 (Avail pv f1n9101vg)

vpath29 (Avail ) 20C15244 = hdisk33 (Avail pv f1n9100vg) hdisk65 (Avail pv f1n9100vg)

vpath30 (Avail ) 20D15244 = hdisk34 (Avail pv f1n9101vg) hdisk66 (Avail pv f1n9101vg)

vpath31 (Avail ) 20E15244 = hdisk35 (Avail pv f1n9102vg) hdisk67 (Avail pv f1n9102vg)

NOTE:  This output looks a lot better.  We have two hdisks available per vpath.  The following command is extra – not necessary.

datapath query device

Total Devices : 32

DEV#:   0  DEVICE NAME: vpath0  TYPE: 2105F20   SERIAL: 50B15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk4    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk36    CLOSE   NORMAL          0          0

DEV#:   1  DEVICE NAME: vpath1  TYPE: 2105F20   SERIAL: 50C15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk5    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk37    CLOSE   NORMAL          0          0

DEV#:   2  DEVICE NAME: vpath2  TYPE: 2105F20   SERIAL: 50D15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk6    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk38    CLOSE   NORMAL          0          0

DEV#:   3  DEVICE NAME: vpath3  TYPE: 2105F20   SERIAL: 40C15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk7    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk39    CLOSE   NORMAL          0          0

DEV#:   4  DEVICE NAME: vpath4  TYPE: 2105F20   SERIAL: 40D15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk8    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk40    CLOSE   NORMAL          0          0

DEV#:   5  DEVICE NAME: vpath5  TYPE: 2105F20   SERIAL: 40E15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi0/hdisk9    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk41    CLOSE   NORMAL          0          0

DEV#:   6  DEVICE NAME: vpath6  TYPE: 2105F20   SERIAL: 40F15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk10    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk42    CLOSE   NORMAL          0          0

DEV#:   7  DEVICE NAME: vpath7  TYPE: 2105F20   SERIAL: 41015244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk11    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk43    CLOSE   NORMAL          0          0

DEV#:   8  DEVICE NAME: vpath8  TYPE: 2105F20   SERIAL: 41115244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk12    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk44    CLOSE   NORMAL          0          0

DEV#:   9  DEVICE NAME: vpath9  TYPE: 2105F20   SERIAL: 70B15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk13    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk45    CLOSE   NORMAL          0          0

DEV#:  10  DEVICE NAME: vpath10  TYPE: 2105F20   SERIAL: 70C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk14    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk46    CLOSE   NORMAL          0          0

DEV#:  11  DEVICE NAME: vpath11  TYPE: 2105F20   SERIAL: 70D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk15    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk47    CLOSE   NORMAL          0          0

DEV#:  12  DEVICE NAME: vpath12  TYPE: 2105F20   SERIAL: 70E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk16    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk48    CLOSE   NORMAL          0          0

DEV#:  13  DEVICE NAME: vpath13  TYPE: 2105F20   SERIAL: 60D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk17    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk49    CLOSE   NORMAL          0          0

DEV#:  14  DEVICE NAME: vpath14  TYPE: 2105F20   SERIAL: 60E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk18    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk50    CLOSE   NORMAL          0          0

DEV#:  15  DEVICE NAME: vpath15  TYPE: 2105F20   SERIAL: 60F15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk19    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk51    CLOSE   NORMAL          0          0

DEV#:  16  DEVICE NAME: vpath16  TYPE: 2105F20   SERIAL: 61015244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk20    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk52    CLOSE   NORMAL          0          0

DEV#:  17  DEVICE NAME: vpath17  TYPE: 2105F20   SERIAL: 61115244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk21    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk53    CLOSE   NORMAL          0          0

DEV#:  18  DEVICE NAME: vpath18  TYPE: 2105F20   SERIAL: 10915244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk22    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk54    CLOSE   NORMAL          0          0

DEV#:  19  DEVICE NAME: vpath19  TYPE: 2105F20   SERIAL: 10A15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk23    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk55    CLOSE   NORMAL          0          0

DEV#:  20  DEVICE NAME: vpath20  TYPE: 2105F20   SERIAL: 10B15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk24    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk56    CLOSE   NORMAL          0          0

DEV#:  21  DEVICE NAME: vpath21  TYPE: 2105F20   SERIAL: 10C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk25    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk57    CLOSE   NORMAL          0          0

DEV#:  22  DEVICE NAME: vpath22  TYPE: 2105F20   SERIAL: 10D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk26    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk58    CLOSE   NORMAL          0          0

DEV#:  23  DEVICE NAME: vpath23  TYPE: 2105F20   SERIAL: 00C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk27    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk59    CLOSE   NORMAL          0          0

DEV#:  24  DEVICE NAME: vpath24  TYPE: 2105F20   SERIAL: 00D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk28    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk60    CLOSE   NORMAL          0          0

DEV#:  25  DEVICE NAME: vpath25  TYPE: 2105F20   SERIAL: 00E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk29    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk61    CLOSE   NORMAL          0          0

DEV#:  26  DEVICE NAME: vpath26  TYPE: 2105F20   SERIAL: 30C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk30    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk62    CLOSE   NORMAL          0          0

DEV#:  27  DEVICE NAME: vpath27  TYPE: 2105F20   SERIAL: 30D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk31    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk63    CLOSE   NORMAL          0          0

DEV#:  28  DEVICE NAME: vpath28  TYPE: 2105F20   SERIAL: 30E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk32    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk64    CLOSE   NORMAL          0          0

DEV#:  29  DEVICE NAME: vpath29  TYPE: 2105F20   SERIAL: 20C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk33    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk65    CLOSE   NORMAL          0          0

DEV#:  30  DEVICE NAME: vpath30  TYPE: 2105F20   SERIAL: 20D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk34    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk66    CLOSE   NORMAL          0          0

DEV#:  31  DEVICE NAME: vpath31  TYPE: 2105F20   SERIAL: 20E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi0/hdisk35    CLOSE   NORMAL          0          0

1                 fscsi1/hdisk67    CLOSE   NORMAL          0          0

Varyon the Volume Groups

For each volume group that you listed in step 1, you need to run “varyonvg vgname”.

varyonvg f1n9100vg

varyonvg f1n9101vg

varyonvg f1n9102vg

varyonvg f1n9103vg

varyonvg f1n9104vg

varyonvg f1n9105vg

Run “hd2vp” on Each Volume Group

hd2vp f1n9100vg

hd2vp f1n9101vg

hd2vp f1n9102vg

hd2vp f1n9103vg

hd2vp f1n9104vg

hd2vp f1n9105vg	# output for this command below

f1n9105vg

f1n9105vg contains these hdisks and pvids

00014310cb8bbba7 hdisk25

00014310cb8bc184 hdisk26

hdisk25 is part of vpath21.

hdisk26 is part of vpath22.

f1n9105vg

Deleting pvid of hdisk26 from ODM database

Deleting pvid of hdisk58 from ODM database

Create vpath22 pvid of 00014310cb8bc184 in ODM database.

lname=vpath22, pvid=00014310cb8bc184

Deleting pvid of hdisk25 from ODM database

Deleting pvid of hdisk57 from ODM database

Create vpath21 pvid of 00014310cb8bbba7 in ODM database.

lname=vpath21, pvid=00014310cb8bbba7

varyon f1n9105vg was successful.

f1n9105vg is converted to dpo device vpathes successfully!

NOTE:  After deleting all of the disks are re-running cfgmgr, you may have noticed that some hdisk definitions have moved (What was hdisk34 is now hdisk26).  For volume group, logical volume, and filesystem considerations, AIX only cares about the PVIDs.  If you are writing directly to an hdisk or vpath device (e. g. /dev/rhdisk34 or /dev/rvpath30), then you should be very careful to configure your system the way it was originally configured.

Verification

Now, you should be OK!  Let’s run some commands to verify this.

lspv

hdisk0         0001463813cb05e1    rootvg

hdisk1         000143109e546712    rootvg

hdisk2         none                None

hdisk3         none                None

hdisk4         none                None

hdisk5         none                None

hdisk6         none                None

hdisk7         none                None

hdisk8         none                None

hdisk9         none                None

hdisk10        none                None

hdisk11        none                None

hdisk12        none                None

hdisk13        none                None

hdisk14        none                None

hdisk15        none                None

hdisk16        none                None

hdisk17        none                None

hdisk18        none                None

hdisk19        none                None

hdisk20        none                None

hdisk21        none                None

hdisk22        none                None

hdisk23        none                None

hdisk24        none                None

hdisk25        none                None

hdisk26        none                None

hdisk27        none                None

hdisk28        none                None

hdisk29        none                None

hdisk30        none                None

hdisk31        none                None

hdisk32        none                None

hdisk33        none                None

hdisk34        none                None

hdisk35        none                None

vpath0         00014310cb8b7564    f1n9103vg

vpath1         00014310cb8b7b71    f1n9104vg

vpath2         00014310cb8b8155    f1n9100vg

vpath3         00014310cb8b28bf    f1n9100vg

vpath4         00014310cb8b2eaf    f1n9101vg

vpath5         00014310cb8b3495    f1n9102vg

vpath6         00014310cb8b3aad    f1n9103vg

vpath7         00014310cb8b40a4    f1n9104vg

vpath8         00014310cb8b4683    f1n9100vg

vpath9         00014310cb8b4c64    f1n9101vg

vpath10        00014310cb8b5210    f1n9102vg

vpath11        00014310cb8b580c    f1n9103vg

vpath12        00014310cb8b5de8    f1n9104vg

vpath13        00014310cb8b0b60    f1n9100vg

vpath14        00014310cb8b1153    f1n9101vg

vpath15        00014310cb8b16d5    f1n9102vg

vpath16        00014310cb8b1c94    f1n9103vg

vpath17        00014310cb8b22e3    f1n9104vg

vpath18        00014310cb8baa45    f1n9102vg

vpath19        00014310cb8bb00e    f1n9103vg

vpath20        00014310cb8bb5fe    f1n9104vg

vpath21        00014310cb8bbba7    f1n9105vg

vpath22        00014310cb8bc184    f1n9105vg

vpath23        00014310cb8b8749    f1n9101vg

vpath24        00014310cb8b8d0d    f1n9102vg

vpath25        00014310cb8b92d4    f1n9103vg

vpath26        00014310cb8b98a8    f1n9104vg

vpath27        00014310cb8b9e9b    f1n9100vg

vpath28        00014310cb8ba476    f1n9101vg

vpath29        00014310cb8b63b1    f1n9100vg

vpath30        00014310cb8b6970    f1n9101vg

vpath31        00014310cb8b6f69    f1n9102vg

hdisk36        none                None

hdisk37        none                None

hdisk38        none                None

hdisk39        none                None

hdisk40        none                None

hdisk41        none                None

hdisk42        none                None

hdisk43        none                None

hdisk44        none                None

hdisk45        none                None

hdisk46        none                None

hdisk47        none                None

hdisk48        none                None

hdisk49        none                None

hdisk50        none                None

hdisk51        none                None

hdisk52        none                None

hdisk53        none                None

hdisk54        none                None

hdisk55        none                None

hdisk56        none                None

hdisk57        none                None

hdisk58        none                None

hdisk59        none                None

hdisk60        none                None

hdisk61        none                None

hdisk62        none                None

hdisk63        none                None

hdisk64        none                None

hdisk65        none                None

hdisk66        none                None

hdisk67        none                None

Note that you do not have PVIDs on your ESS disk drives.  Also, note that your vpath devices DO have pvids and volume group definitions.  Finally, note that all of your hdisk definitions are there.

datapath query device

Total Devices : 32

DEV#:   0  DEVICE NAME: vpath0  TYPE: 2105F20   SERIAL: 50B15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi1/hdisk4     OPEN   NORMAL          8          0

1                 fscsi0/hdisk36     OPEN   NORMAL         13          0

DEV#:   1  DEVICE NAME: vpath1  TYPE: 2105F20   SERIAL: 50C15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi1/hdisk5     OPEN   NORMAL          9          0

1                 fscsi0/hdisk37     OPEN   NORMAL         12          0

DEV#:   2  DEVICE NAME: vpath2  TYPE: 2105F20   SERIAL: 50D15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi1/hdisk6     OPEN   NORMAL          7          0

1                 fscsi0/hdisk38     OPEN   NORMAL         14          0

DEV#:   3  DEVICE NAME: vpath3  TYPE: 2105F20   SERIAL: 40C15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi1/hdisk7     OPEN   NORMAL          7          0

1                 fscsi0/hdisk39     OPEN   NORMAL         14          0

DEV#:   4  DEVICE NAME: vpath4  TYPE: 2105F20   SERIAL: 40D15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi1/hdisk8     OPEN   NORMAL          8          0

1                 fscsi0/hdisk40     OPEN   NORMAL         13          0

DEV#:   5  DEVICE NAME: vpath5  TYPE: 2105F20   SERIAL: 40E15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                  fscsi1/hdisk9     OPEN   NORMAL          9          0

1                 fscsi0/hdisk41     OPEN   NORMAL         12          0

DEV#:   6  DEVICE NAME: vpath6  TYPE: 2105F20   SERIAL: 40F15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk10     OPEN   NORMAL          9          0

1                 fscsi0/hdisk42     OPEN   NORMAL         12          0

DEV#:   7  DEVICE NAME: vpath7  TYPE: 2105F20   SERIAL: 41015244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk11     OPEN   NORMAL         10          0

1                 fscsi0/hdisk43     OPEN   NORMAL         11          0

DEV#:   8  DEVICE NAME: vpath8  TYPE: 2105F20   SERIAL: 41115244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk12     OPEN   NORMAL         11          0

1                 fscsi0/hdisk44     OPEN   NORMAL         10          0

DEV#:   9  DEVICE NAME: vpath9  TYPE: 2105F20   SERIAL: 70B15244

================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk13     OPEN   NORMAL         12          0

1                 fscsi0/hdisk45     OPEN   NORMAL          9          0

DEV#:  10  DEVICE NAME: vpath10  TYPE: 2105F20   SERIAL: 70C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk14     OPEN   NORMAL          6          0

1                 fscsi0/hdisk46     OPEN   NORMAL         15          0

DEV#:  11  DEVICE NAME: vpath11  TYPE: 2105F20   SERIAL: 70D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk15     OPEN   NORMAL         12          0

1                 fscsi0/hdisk47     OPEN   NORMAL          9          0

DEV#:  12  DEVICE NAME: vpath12  TYPE: 2105F20   SERIAL: 70E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk16     OPEN   NORMAL         10          0

1                 fscsi0/hdisk48     OPEN   NORMAL         11          0

DEV#:  13  DEVICE NAME: vpath13  TYPE: 2105F20   SERIAL: 60D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk17     OPEN   NORMAL         25          0

1                 fscsi0/hdisk49     OPEN   NORMAL         31          0

DEV#:  14  DEVICE NAME: vpath14  TYPE: 2105F20   SERIAL: 60E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk18     OPEN   NORMAL         26          0

1                 fscsi0/hdisk50     OPEN   NORMAL         30          0

DEV#:  15  DEVICE NAME: vpath15  TYPE: 2105F20   SERIAL: 60F15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk19     OPEN   NORMAL         32          0

1                 fscsi0/hdisk51     OPEN   NORMAL         24          0

DEV#:  16  DEVICE NAME: vpath16  TYPE: 2105F20   SERIAL: 61015244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk20     OPEN   NORMAL         27          0

1                 fscsi0/hdisk52     OPEN   NORMAL         29          0

DEV#:  17  DEVICE NAME: vpath17  TYPE: 2105F20   SERIAL: 61115244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk21     OPEN   NORMAL         30          0

1                 fscsi0/hdisk53     OPEN   NORMAL         26          0

DEV#:  18  DEVICE NAME: vpath18  TYPE: 2105F20   SERIAL: 10915244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk22     OPEN   NORMAL         12          0

1                 fscsi0/hdisk54     OPEN   NORMAL          9          0

DEV#:  19  DEVICE NAME: vpath19  TYPE: 2105F20   SERIAL: 10A15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk23     OPEN   NORMAL         11          0

1                 fscsi0/hdisk55     OPEN   NORMAL         10          0

DEV#:  20  DEVICE NAME: vpath20  TYPE: 2105F20   SERIAL: 10B15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk24     OPEN   NORMAL         10          0

1                 fscsi0/hdisk56     OPEN   NORMAL         11          0

DEV#:  21  DEVICE NAME: vpath21  TYPE: 2105F20   SERIAL: 10C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk25     OPEN   NORMAL         29          0

1                 fscsi0/hdisk57     OPEN   NORMAL         30          0

DEV#:  22  DEVICE NAME: vpath22  TYPE: 2105F20   SERIAL: 10D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk26     OPEN   NORMAL         10          0

1                 fscsi0/hdisk58     OPEN   NORMAL         11          0

DEV#:  23  DEVICE NAME: vpath23  TYPE: 2105F20   SERIAL: 00C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk27     OPEN   NORMAL         10          0

1                 fscsi0/hdisk59     OPEN   NORMAL         11          0

DEV#:  24  DEVICE NAME: vpath24  TYPE: 2105F20   SERIAL: 00D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk28     OPEN   NORMAL          5          0

1                 fscsi0/hdisk60     OPEN   NORMAL         16          0

DEV#:  25  DEVICE NAME: vpath25  TYPE: 2105F20   SERIAL: 00E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk29     OPEN   NORMAL         11          0

1                 fscsi0/hdisk61     OPEN   NORMAL         10          0

DEV#:  26  DEVICE NAME: vpath26  TYPE: 2105F20   SERIAL: 30C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk30     OPEN   NORMAL          7          0

1                 fscsi0/hdisk62     OPEN   NORMAL         14          0

DEV#:  27  DEVICE NAME: vpath27  TYPE: 2105F20   SERIAL: 30D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk31     OPEN   NORMAL         13          0

1                 fscsi0/hdisk63     OPEN   NORMAL          8          0

DEV#:  28  DEVICE NAME: vpath28  TYPE: 2105F20   SERIAL: 30E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk32     OPEN   NORMAL         11          0

1                 fscsi0/hdisk64     OPEN   NORMAL         10          0

DEV#:  29  DEVICE NAME: vpath29  TYPE: 2105F20   SERIAL: 20C15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk33     OPEN   NORMAL          8          0

1                 fscsi0/hdisk65     OPEN   NORMAL         13          0

DEV#:  30  DEVICE NAME: vpath30  TYPE: 2105F20   SERIAL: 20D15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk34     OPEN   NORMAL         10          0

1                 fscsi0/hdisk66     OPEN   NORMAL         11          0

DEV#:  31  DEVICE NAME: vpath31  TYPE: 2105F20   SERIAL: 20E15244

=================================================================

Path#              Adapter/Hard Disk    State     Mode     Select     Errors

0                 fscsi1/hdisk35     OPEN   NORMAL          8          0

1                 fscsi0/hdisk67     OPEN   NORMAL         13          0

Note that each vpath device has two paths to access the device.

lsvpcfg

vpath0 (Avail pv f1n9103vg) 50B15244 = hdisk4 (Avail ) hdisk36 (Avail )

vpath1 (Avail pv f1n9104vg) 50C15244 = hdisk5 (Avail ) hdisk37 (Avail )

vpath2 (Avail pv f1n9100vg) 50D15244 = hdisk6 (Avail ) hdisk38 (Avail )

vpath3 (Avail pv f1n9100vg) 40C15244 = hdisk7 (Avail ) hdisk39 (Avail )

vpath4 (Avail pv f1n9101vg) 40D15244 = hdisk8 (Avail ) hdisk40 (Avail )

vpath5 (Avail pv f1n9102vg) 40E15244 = hdisk9 (Avail ) hdisk41 (Avail )

vpath6 (Avail pv f1n9103vg) 40F15244 = hdisk10 (Avail ) hdisk42 (Avail )

vpath7 (Avail pv f1n9104vg) 41015244 = hdisk11 (Avail ) hdisk43 (Avail )

vpath8 (Avail pv f1n9100vg) 41115244 = hdisk12 (Avail ) hdisk44 (Avail )

vpath9 (Avail pv f1n9101vg) 70B15244 = hdisk13 (Avail ) hdisk45 (Avail )

vpath10 (Avail pv f1n9102vg) 70C15244 = hdisk14 (Avail ) hdisk46 (Avail )

vpath11 (Avail pv f1n9103vg) 70D15244 = hdisk15 (Avail ) hdisk47 (Avail )

vpath12 (Avail pv f1n9104vg) 70E15244 = hdisk16 (Avail ) hdisk48 (Avail )

vpath13 (Avail pv f1n9100vg) 60D15244 = hdisk17 (Avail ) hdisk49 (Avail )

vpath14 (Avail pv f1n9101vg) 60E15244 = hdisk18 (Avail ) hdisk50 (Avail )

vpath15 (Avail pv f1n9102vg) 60F15244 = hdisk19 (Avail ) hdisk51 (Avail )

vpath16 (Avail pv f1n9103vg) 61015244 = hdisk20 (Avail ) hdisk52 (Avail )

vpath17 (Avail pv f1n9104vg) 61115244 = hdisk21 (Avail ) hdisk53 (Avail )

vpath18 (Avail pv f1n9102vg) 10915244 = hdisk22 (Avail ) hdisk54 (Avail )

vpath19 (Avail pv f1n9103vg) 10A15244 = hdisk23 (Avail ) hdisk55 (Avail )

vpath20 (Avail pv f1n9104vg) 10B15244 = hdisk24 (Avail ) hdisk56 (Avail )

vpath21 (Avail pv f1n9105vg) 10C15244 = hdisk25 (Avail ) hdisk57 (Avail )

vpath22 (Avail pv f1n9105vg) 10D15244 = hdisk26 (Avail ) hdisk58 (Avail )

vpath23 (Avail pv f1n9101vg) 00C15244 = hdisk27 (Avail ) hdisk59 (Avail )

vpath24 (Avail pv f1n9102vg) 00D15244 = hdisk28 (Avail ) hdisk60 (Avail )

vpath25 (Avail pv f1n9103vg) 00E15244 = hdisk29 (Avail ) hdisk61 (Avail )

vpath26 (Avail pv f1n9104vg) 30C15244 = hdisk30 (Avail ) hdisk62 (Avail )

vpath27 (Avail pv f1n9100vg) 30D15244 = hdisk31 (Avail ) hdisk63 (Avail )

vpath28 (Avail pv f1n9101vg) 30E15244 = hdisk32 (Avail ) hdisk64 (Avail )

vpath29 (Avail pv f1n9100vg) 20C15244 = hdisk33 (Avail ) hdisk65 (Avail )

vpath30 (Avail pv f1n9101vg) 20D15244 = hdisk34 (Avail ) hdisk66 (Avail )

vpath31 (Avail pv f1n9102vg) 20E15244 = hdisk35 (Avail ) hdisk67 (Avail )

Again, note that each vpath device has two paths to access the device and that they are both available.

Oh yeah, you may want to mount your filesystems back for normal use.

#### Section 4: Items of Interest

At this installation, we installed three IBM 2105 ESS machines.  Although we did not run into any hardware problems, you may.  When debugging, you may want to delete all of your ESS disk drives and vpath devices.  Be careful.

Making Volume Groups – Special Command

If you are used to scripting your volume group creation, please use the /usr/sbin/mkvg4vp command instead of the /usr/sbin/mkvg command.  You will be much more satisfied with the results.

You can do this from smit via the following panels:

smit

Select “System Storage Management (Physical & Logical Storage)”

Select “Logical Volume Manager”

Select “Volume Groups”

Select “Add a Volume Group with Data Path Devices”

Making Volume Groups – Again!

This problem existed in SDD V1.1.4.  I have not verified the existence of this problem in SDD V1.2.0.

Suppose that you have already made a volume group on some vpath devices.  Then, suppose you wanted to export the volume group, and create a NEW volume group.  You may run into a slight challenge.  The command that smit uses to create this volume group looks similar to the following:

VGNAME=`/usr/sbin/mkvg4vp -y'f1n9105vg' -s'256' -V'80' vpath0 vpath1 vpath2`

0516-014 lcreatevg: The physical volume appears to belong to another

volume group.

00607388ef28df09

0516-631 mkvg: Warning, all data belonging to physical

volume vpath0 will be destroyed.

mkvg: Do you wish to continue? y(es) n(o)? y

0516-014 linstallpv: The physical volume appears to belong to another

volume group.

00607388ef28df09

y

0516-014 linstallpv: The physical volume appears to belong to another

volume group.

00607388ef28df09

y

If you notice above, the output asked me if I wanted to continue on the first disk, but I had to know the answer to the question for disks 2 and so on.  Just keep answering “y” for yes!

BETTER YET!  If you are scripting the VG creation, just add a “-f” option (after the command but before the –y option) as follows:

VGNAME=`/usr/sbin/mkvg4vp –f -y'f1n9105vg' -s'256' -V'80' vpath0 vpath1 vpath2`

Extending Volume Groups – Special Command

If you are used to scripting your volume group extensions, please use the /usr/sbin/extendvg4vp command instead of the /usr/sbin/extendvg command.  You will be much more satisfied with the results.   If you would like to use smit to do the exact same thing, see the very next section below!

Extending Volume Groups

You would get to this menu via the following:

smit

Select “System Storage Management (Physical & Logical Storage)”

Select “Logical Volume Manager”

Select “Volume Groups”

Select “Add a Data Path Volume to a Volume Group”

Add a Datapath Physical Volume to a Volume Group

Type or select values in entry fields.

Press Enter AFTER making all desired changes.

[Entry Fields]

* VOLUME GROUP name                                  []                       +

* PHYSICAL VOLUME names                              []                       +

dpovgfix – Special Circumstances

It is possible for certain AIX commands to cause an hdisk to register its PVID.  Scenarios that will cause this exist as follows:

- chdev –l hdisk2 –a queue_depth=64
This command will change the attributes of the hdisk, which causes AIX to unconfigure and then reconfigure the hdisk.  This in turn creates the hdisk’s PVID in the ODM.

- restoring from a mksysb
After restoring a mksysb, the physical volumes of the DPO volume group are switched back to the hdisks.

The basic idea is that the hdisks that exist under the vpath devices should not reflect the hdisks PVID.  If they do, then you should “fix” the offending hdisks that are in the DPO volume group.

To determine if you have this problem, you can run the following command (on your DPO volume group):

lspv |grep  f1n9105vg

hdisk25        00014310cb8bbba7    f1n9105vg

vpath21        00014310cb8bbba7    f1n9105vg

vpath22        00014310cb8bc184    f1n9105vg

If you see some hdisk devices mixed in with your vpath devices (or all hdisk devices), then you may not be utilizing DPO for those disk drives, i. e. you are not load balancing for the offending disk drives and you are not protected from the failure of the single scsi adapter that is servicing those hdisk devices.

NOTE:  You certainly have a problem if the “lsvg –p vgname” shows a mixture of hdisk and vpath devices.

In order to “fix” the above problem, you will need to run the “dpovgfix” command on the dpo volume group in question:

dpovgfix f1n9105vg

f1n9105vg

f1n9105vg contains following devices and pvids

00014310cb8bbba7 vpath21

00014310cb8bc184 vpath22

f1n9105vg

0518-307 odmdelete: 1 objects deleted.

0518-307 odmdelete: 0 objects deleted.

0518-307 odmdelete: 0 objects deleted.

0518-307 odmdelete: 0 objects deleted.

varyon f1n9105vg was successful.

Volume Group f1n9105vg is cleaned up to dpo devices successfully.

The bad news is that you will need to umount all filesystems and close all raw logical volumes before running dpovgfix.  This will require a scheduled outage.  “dpovgfix” will varyon your volume group for you, so you will need to mount all filesystems and restart your applications when it has completed running.  Just for good measure, I suggest that you re-run your “lsvg –p dpo_vgname” or the “lspv” command to verify that you configuration is good.  Note that the lspv output should show pvids associated with vpath devices and not with hdisks that are being utilized for DPO.  Also, vg names should be associated with vpath devices and not with hdisks that are being utilized for DPO.

Upgrading from DPO V 1.2.0

Unfortunately, this will require some down time.  It will be necessary to follow the steps in Chapter 3 to convert your disk drives from datapath devices to hdisks.  Then, in the “OPTIONAL STEP - Add or Remove Hardware or Software”, you will need to de-install the old version of DPO and install the newer version of DPO.  Afterwards, continue with the remaining steps to convert your hdisks back to vpath devices.

Equating LUNs back to Hdisks

There are some new utilities – lsess, lssdd, and lsvp that are discussed below.  Before working to hard on this section, you may want to scan ahead!

To equate LUNs back to hdisks, do the following:

On the Storage Specialist (ESS) side – do the following:

Look for the tabular view under Storage Allocation.  Find the machine that you want and the disk you want.  Look at its serial number.

On the AIX side, you can run the following command:

lscfg -vl hdisk4

DEVICE            LOCATION          DESCRIPTION

hdisk4            20-58-01          IBM FC 2105F20

Manufacturer................IBM

Machine Type and Model......2105F20

Serial Number...............50B15244

EC Level....................5828

Device Specific.(Z0)........10

Device Specific.(Z1)........00A4

Device Specific.(Z2)........0075

Device Specific.(Z3)........17600

Device Specific.(Z4)........05

Device Specific.(Z5)........00

Alternative Method to Find Hdisks

Another method to find out which hdisks comprise a vpath is as follows:

lsattr -El vpath0

pvid         00014310cb8b75640000000000000000 Data Path Optimizer Parent False

policy       df                               Scheduling Policy          True

active_hdisk hdisk4/50B15244                  Active hdisk               False

active_hdisk hdisk36/50B15244

Some Very Nice Utilities

A gentleman in the San Jose group who shall remain nameless has written some very nice utilities.  They are lsess, lssdd, and lsvp.  First, you need to get the utilites from the website (Look for an essutil.tar file).  Second, in order to install them, you need to read the README.  I will list sample installation instructions here for your convenience:

#!/bin/ksh

RUNDIR=$(dirname $0)

cp ${RUNDIR}/fcmap /usr/bin		# If you have fiber connections

cp ${RUNDIR}/fcmap /usr/lib/methods	# If you have fiber connections

cp ${RUNDIR}/scsimap /usr/bin		# If you have SCSI connections

cp ${RUNDIR}/scsimap /usr/lib/methods	# If you have SCSI connections

cp ${RUNDIR}/lsess /usr/bin

cp ${RUNDIR}/lsvp /usr/bin

cp ${RUNDIR}/lssdd /usr/bin

echo "After a reboot, run the following:"

echo lsess

echo lssdd

echo lsvp

echo "

To run lsess and lsvp you will need to either re-boot the host or run

cfgmgr with all 2105 vg's offline.  This is only necessary for the initial run.

lssdd does not require a re-boot or vg's to be offline for initial run,

however it does require the ibm2105.rte package to be at 32.6.100.3 or above.

If lsess has not been run the lssdd output will not contain LSS, Volume,

and Rank information. "

Please note that the ODM stanza that you added has information for SCSI attached ESS devices and Fiber attached ESS devices.  Whenever you run cfgmgr, you will get a method error if you only have one type of ESS devices, say either all SCSI attached 2105 devices or all Fiber attached 2105 devices.

If you have all Fiber attached 2105 ESS devices, then you can run the following command to eliminate the method error:

odmadd ${RUNDIR}/fc_map.stanza

If you have all SCSI attached 2105 ESS devices, then you can run the following command to eliminate the method error:

odmadd ${RUNDIR}/scsi_map.stanza

I will show the output from these utilities here – just to show you what is available.  The utilities need to be downloaded from the web site where you found this document.

lsess	# Pulls information out of ODM from last boot

Disk        Location     LUN SN       Type       Size   LSS    Vol    Rank   S    Connection

------     ------------  --------  ------------   ----   ---    ---    ----   -   -----------

hdisk4     20-58-01[FC]  50B15244  IBM 2105-F20   16.0    21     11    1501   Y   R1-B4-H2-ZA

hdisk5     20-58-01[FC]  50C15244  IBM 2105-F20   16.0    21     12    1502   Y   R1-B4-H2-ZA

hdisk6     20-58-01[FC]  50D15244  IBM 2105-F20   16.0    21     13    1502   Y   R1-B4-H2-ZA

hdisk7     20-58-01[FC]  40C15244  IBM 2105-F20   16.0    20     12    1401   Y   R1-B4-H2-ZA

hdisk8     20-58-01[FC]  40D15244  IBM 2105-F20   16.0    20     13    1402   Y   R1-B4-H2-ZA

hdisk9     20-58-01[FC]  40E15244  IBM 2105-F20   16.0    20     14    1402   Y   R1-B4-H2-ZA

hdisk10    20-58-01[FC]  40F15244  IBM 2105-F20   16.0    20     15    1403   Y   R1-B4-H2-ZA

hdisk11    20-58-01[FC]  41015244  IBM 2105-F20   16.0    20     16    1404   Y   R1-B4-H2-ZA

hdisk12    20-58-01[FC]  41115244  IBM 2105-F20   16.0    20     17    1405   Y   R1-B4-H2-ZA

hdisk13    20-58-01[FC]  70B15244  IBM 2105-F20   16.0    23     11    1701   Y   R1-B4-H2-ZA

hdisk14    20-58-01[FC]  70C15244  IBM 2105-F20   16.0    23     12    1702   Y   R1-B4-H2-ZA

hdisk15    20-58-01[FC]  70D15244  IBM 2105-F20   16.0    23     13    1703   Y   R1-B4-H2-ZA

hdisk16    20-58-01[FC]  70E15244  IBM 2105-F20   16.0    23     14    1704   Y   R1-B4-H2-ZA

hdisk17    20-58-01[FC]  60D15244  IBM 2105-F20   16.0    22     13    1601   Y   R1-B4-H2-ZA

hdisk18    20-58-01[FC]  60E15244  IBM 2105-F20   16.0    22     14    1602   Y   R1-B4-H2-ZA

hdisk19    20-58-01[FC]  60F15244  IBM 2105-F20   16.0    22     15    1603   Y   R1-B4-H2-ZA

hdisk20    20-58-01[FC]  61015244  IBM 2105-F20   16.0    22     16    1604   Y   R1-B4-H2-ZA

hdisk21    20-58-01[FC]  61115244  IBM 2105-F20   16.0    22     17    1605   Y   R1-B4-H2-ZA

hdisk22    20-58-01[FC]  10915244  IBM 2105-F20   16.0    17      9    1100   Y   R1-B4-H2-ZA

hdisk23    20-58-01[FC]  10A15244  IBM 2105-F20   16.0    17     10    1101   Y   R1-B4-H2-ZA

hdisk24    20-58-01[FC]  10B15244  IBM 2105-F20   16.0    17     11    1101   Y   R1-B4-H2-ZA

hdisk25    20-58-01[FC]  10C15244  IBM 2105-F20   16.0    17     12    1102   Y   R1-B4-H2-ZA

hdisk26    20-58-01[FC]  10D15244  IBM 2105-F20   16.0    17     13    1102   Y   R1-B4-H2-ZA

hdisk27    20-58-01[FC]  00C15244  IBM 2105-F20   16.0    16     12    1001   Y   R1-B4-H2-ZA

hdisk28    20-58-01[FC]  00D15244  IBM 2105-F20   16.0    16     13    1002   Y   R1-B4-H2-ZA

hdisk29    20-58-01[FC]  00E15244  IBM 2105-F20   16.0    16     14    1002   Y   R1-B4-H2-ZA

hdisk30    20-58-01[FC]  30C15244  IBM 2105-F20   16.0    19     12    1301   Y   R1-B4-H2-ZA

hdisk31    20-58-01[FC]  30D15244  IBM 2105-F20   16.0    19     13    1302   Y   R1-B4-H2-ZA

hdisk32    20-58-01[FC]  30E15244  IBM 2105-F20   16.0    19     14    1302   Y   R1-B4-H2-ZA

hdisk33    20-58-01[FC]  20C15244  IBM 2105-F20   16.0    18     12    1201   Y   R1-B4-H2-ZA

hdisk34    20-58-01[FC]  20D15244  IBM 2105-F20   16.0    18     13    1202   Y   R1-B4-H2-ZA

hdisk35    20-58-01[FC]  20E15244  IBM 2105-F20   16.0    18     14    1202   Y   R1-B4-H2-ZA

hdisk36    10-80-01[FC]  50B15244  IBM 2105-F20   16.0    21     11    1501   Y   R1-B1-H3-ZA

hdisk37    10-80-01[FC]  50C15244  IBM 2105-F20   16.0    21     12    1502   Y   R1-B1-H3-ZA

hdisk38    10-80-01[FC]  50D15244  IBM 2105-F20   16.0    21     13    1502   Y   R1-B1-H3-ZA

hdisk39    10-80-01[FC]  40C15244  IBM 2105-F20   16.0    20     12    1401   Y   R1-B1-H3-ZA

hdisk40    10-80-01[FC]  40D15244  IBM 2105-F20   16.0    20     13    1402   Y   R1-B1-H3-ZA

hdisk41    10-80-01[FC]  40E15244  IBM 2105-F20   16.0    20     14    1402   Y   R1-B1-H3-ZA

hdisk42    10-80-01[FC]  40F15244  IBM 2105-F20   16.0    20     15    1403   Y   R1-B1-H3-ZA

hdisk43    10-80-01[FC]  41015244  IBM 2105-F20   16.0    20     16    1404   Y   R1-B1-H3-ZA

hdisk44    10-80-01[FC]  41115244  IBM 2105-F20   16.0    20     17    1405   Y   R1-B1-H3-ZA

hdisk45    10-80-01[FC]  70B15244  IBM 2105-F20   16.0    23     11    1701   Y   R1-B1-H3-ZA

hdisk46    10-80-01[FC]  70C15244  IBM 2105-F20   16.0    23     12    1702   Y   R1-B1-H3-ZA

hdisk47    10-80-01[FC]  70D15244  IBM 2105-F20   16.0    23     13    1703   Y   R1-B1-H3-ZA

hdisk48    10-80-01[FC]  70E15244  IBM 2105-F20   16.0    23     14    1704   Y   R1-B1-H3-ZA

hdisk49    10-80-01[FC]  60D15244  IBM 2105-F20   16.0    22     13    1601   Y   R1-B1-H3-ZA

hdisk50    10-80-01[FC]  60E15244  IBM 2105-F20   16.0    22     14    1602   Y   R1-B1-H3-ZA

hdisk51    10-80-01[FC]  60F15244  IBM 2105-F20   16.0    22     15    1603   Y   R1-B1-H3-ZA

hdisk52    10-80-01[FC]  61015244  IBM 2105-F20   16.0    22     16    1604   Y   R1-B1-H3-ZA

hdisk53    10-80-01[FC]  61115244  IBM 2105-F20   16.0    22     17    1605   Y   R1-B1-H3-ZA

hdisk54    10-80-01[FC]  10915244  IBM 2105-F20   16.0    17      9    1100   Y   R1-B1-H3-ZA

hdisk55    10-80-01[FC]  10A15244  IBM 2105-F20   16.0    17     10    1101   Y   R1-B1-H3-ZA

hdisk56    10-80-01[FC]  10B15244  IBM 2105-F20   16.0    17     11    1101   Y   R1-B1-H3-ZA

hdisk57    10-80-01[FC]  10C15244  IBM 2105-F20   16.0    17     12    1102   Y   R1-B1-H3-ZA

hdisk58    10-80-01[FC]  10D15244  IBM 2105-F20   16.0    17     13    1102   Y   R1-B1-H3-ZA

hdisk59    10-80-01[FC]  00C15244  IBM 2105-F20   16.0    16     12    1001   Y   R1-B1-H3-ZA

hdisk60    10-80-01[FC]  00D15244  IBM 2105-F20   16.0    16     13    1002   Y   R1-B1-H3-ZA

hdisk61    10-80-01[FC]  00E15244  IBM 2105-F20   16.0    16     14    1002   Y   R1-B1-H3-ZA

hdisk62    10-80-01[FC]  30C15244  IBM 2105-F20   16.0    19     12    1301   Y   R1-B1-H3-ZA

hdisk63    10-80-01[FC]  30D15244  IBM 2105-F20   16.0    19     13    1302   Y   R1-B1-H3-ZA

hdisk64    10-80-01[FC]  30E15244  IBM 2105-F20   16.0    19     14    1302   Y   R1-B1-H3-ZA

hdisk65    10-80-01[FC]  20C15244  IBM 2105-F20   16.0    18     12    1201   Y   R1-B1-H3-ZA

hdisk66    10-80-01[FC]  20D15244  IBM 2105-F20   16.0    18     13    1202   Y   R1-B1-H3-ZA

hdisk67    10-80-01[FC]  20E15244  IBM 2105-F20   16.0    18     14    1202   Y   R1-B1-H3-ZA

lssdd	# Current information - runs slower, lots of information

Hostname   VG         vpath    hdisk    Location       Type        LUN SN   EC    S  Connection  Size  LSS  Vol  Rank

--------   --         -----    -----    --------       ----        ------   --    -  ----------  ----  ---  ---  ----

cpcf1n9sw  f1n9103vg  vpath0   hdisk4   20-58-01       IBM-2105F20 50B15244 5828  N  R1-B4-H2-ZA 16.0  22   13   1601

hdisk36  10-80-01       IBM-2105F20 50B15244 5828  N  R1-B1-H3-ZA 16.0  22   13   1601

cpcf1n9sw  f1n9104vg  vpath1   hdisk5   20-58-01       IBM-2105F20 50C15244 5828  N  R1-B4-H2-ZA 16.0  22   14   1602

hdisk37  10-80-01       IBM-2105F20 50C15244 5828  N  R1-B1-H3-ZA 16.0  22   14   1602

cpcf1n9sw  f1n9100vg  vpath2   hdisk6   20-58-01       IBM-2105F20 50D15244 5828  N  R1-B4-H2-ZA 16.0  22   15   1603

hdisk38  10-80-01       IBM-2105F20 50D15244 5828  N  R1-B1-H3-ZA 16.0  22   15   1603

cpcf1n9sw  f1n9100vg  vpath3   hdisk7   20-58-01       IBM-2105F20 40C15244 5828  N  R1-B4-H2-ZA 16.0  22   16   1604

hdisk39  10-80-01       IBM-2105F20 40C15244 5828  N  R1-B1-H3-ZA 16.0  22   16   1604

cpcf1n9sw  f1n9101vg  vpath4   hdisk8   20-58-01       IBM-2105F20 40D15244 5828  N  R1-B4-H2-ZA 16.0  22   17   1605

hdisk40  10-80-01       IBM-2105F20 40D15244 5828  N  R1-B1-H3-ZA 16.0  22   17   1605

cpcf1n9sw  f1n9102vg  vpath5   hdisk9   20-58-01       IBM-2105F20 40E15244 5828  N  R1-B4-H2-ZA 16.0  20   12   1401

hdisk41  10-80-01       IBM-2105F20 40E15244 5828  N  R1-B1-H3-ZA 16.0  20   12   1401

cpcf1n9sw  f1n9103vg  vpath6   hdisk10  20-58-01       IBM-2105F20 40F15244 5828  N  R1-B4-H2-ZA 16.0  20   13   1402

hdisk42  10-80-01       IBM-2105F20 40F15244 5828  N  R1-B1-H3-ZA 16.0  20   13   1402

cpcf1n9sw  f1n9104vg  vpath7   hdisk11  20-58-01       IBM-2105F20 41015244 5828  N  R1-B4-H2-ZA 16.0  20   14   1402

hdisk43  10-80-01       IBM-2105F20 41015244 5828  N  R1-B1-H3-ZA 16.0  20   14   1402

cpcf1n9sw  f1n9100vg  vpath8   hdisk12  20-58-01       IBM-2105F20 41115244 5828  N  R1-B4-H2-ZA 16.0  20   15   1403

hdisk44  10-80-01       IBM-2105F20 41115244 5828  N  R1-B1-H3-ZA 16.0  20   15   1403

cpcf1n9sw  f1n9101vg  vpath9   hdisk13  20-58-01       IBM-2105F20 70B15244 5828  N  R1-B4-H2-ZA 16.0  20   16   1404

hdisk45  10-80-01       IBM-2105F20 70B15244 5828  N  R1-B1-H3-ZA 16.0  20   16   1404

cpcf1n9sw  f1n9102vg  vpath10  hdisk14  20-58-01       IBM-2105F20 70C15244 5828  N  R1-B4-H2-ZA 16.0  20   17   1405

hdisk46  10-80-01       IBM-2105F20 70C15244 5828  N  R1-B1-H3-ZA 16.0  20   17   1405

cpcf1n9sw  f1n9103vg  vpath11  hdisk15  20-58-01       IBM-2105F20 70D15244 5828  N  R1-B4-H2-ZA 16.0  23   11   1701

hdisk47  10-80-01       IBM-2105F20 70D15244 5828  N  R1-B1-H3-ZA 16.0  23   11   1701

cpcf1n9sw  f1n9104vg  vpath12  hdisk16  20-58-01       IBM-2105F20 70E15244 5828  N  R1-B4-H2-ZA 16.0  23   12   1702

hdisk48  10-80-01       IBM-2105F20 70E15244 5828  N  R1-B1-H3-ZA 16.0  23   12   1702

cpcf1n9sw  f1n9100vg  vpath13  hdisk17  20-58-01       IBM-2105F20 60D15244 5828  N  R1-B4-H2-ZA 16.0  23   13   1703

hdisk49  10-80-01       IBM-2105F20 60D15244 5828  N  R1-B1-H3-ZA 16.0  23   13   1703

cpcf1n9sw  f1n9101vg  vpath14  hdisk18  20-58-01       IBM-2105F20 60E15244 5828  N  R1-B4-H2-ZA 16.0  23   14   1704

hdisk50  10-80-01       IBM-2105F20 60E15244 5828  N  R1-B1-H3-ZA 16.0  23   14   1704

cpcf1n9sw  f1n9102vg  vpath15  hdisk19  20-58-01       IBM-2105F20 60F15244 5828  N  R1-B4-H2-ZA 16.0  18   12   1201

hdisk51  10-80-01       IBM-2105F20 60F15244 5828  N  R1-B1-H3-ZA 16.0  18   12   1201

cpcf1n9sw  f1n9103vg  vpath16  hdisk20  20-58-01       IBM-2105F20 61015244 5828  N  R1-B4-H2-ZA 16.0  18   13   1202

hdisk52  10-80-01       IBM-2105F20 61015244 5828  N  R1-B1-H3-ZA 16.0  18   13   1202

cpcf1n9sw  f1n9104vg  vpath17  hdisk21  20-58-01       IBM-2105F20 61115244 5828  N  R1-B4-H2-ZA 16.0  18   14   1202

hdisk53  10-80-01       IBM-2105F20 61115244 5828  N  R1-B1-H3-ZA 16.0  18   14   1202

cpcf1n9sw  f1n9102vg  vpath18  hdisk22  20-58-01       IBM-2105F20 10915244 5828  N  R1-B4-H2-ZA 16.0  21   11   1501

hdisk54  10-80-01       IBM-2105F20 10915244 5828  N  R1-B1-H3-ZA 16.0  21   11   1501

cpcf1n9sw  f1n9103vg  vpath19  hdisk23  20-58-01       IBM-2105F20 10A15244 5828  N  R1-B4-H2-ZA 16.0  21   12   1502

hdisk55  10-80-01       IBM-2105F20 10A15244 5828  N  R1-B1-H3-ZA 16.0  21   12   1502

cpcf1n9sw  f1n9104vg  vpath20  hdisk24  20-58-01       IBM-2105F20 10B15244 5828  N  R1-B4-H2-ZA 16.0  21   13   1502

hdisk56  10-80-01       IBM-2105F20 10B15244 5828  N  R1-B1-H3-ZA 16.0  21   13   1502

cpcf1n9sw  f1n9105vg  vpath21  hdisk25  20-58-01       IBM-2105F20 10C15244 5828  N  R1-B4-H2-ZA 16.0  16   12   1001

hdisk57  10-80-01       IBM-2105F20 10C15244 5828  N  R1-B1-H3-ZA 16.0  16   12   1001

cpcf1n9sw  f1n9105vg  vpath22  hdisk26  20-58-01       IBM-2105F20 10D15244 5828  N  R1-B4-H2-ZA 16.0  16   13   1002

hdisk58  10-80-01       IBM-2105F20 10D15244 5828  N  R1-B1-H3-ZA 16.0  16   13   1002

cpcf1n9sw  f1n9101vg  vpath23  hdisk27  20-58-01       IBM-2105F20 00C15244 5828  N  R1-B4-H2-ZA 16.0  16   14   1002

hdisk59  10-80-01       IBM-2105F20 00C15244 5828  N  R1-B1-H3-ZA 16.0  16   14   1002

cpcf1n9sw  f1n9102vg  vpath24  hdisk28  20-58-01       IBM-2105F20 00D15244 5828  N  R1-B4-H2-ZA 16.0  19   12   1301

hdisk60  10-80-01       IBM-2105F20 00D15244 5828  N  R1-B1-H3-ZA 16.0  19   12   1301

cpcf1n9sw  f1n9103vg  vpath25  hdisk29  20-58-01       IBM-2105F20 00E15244 5828  N  R1-B4-H2-ZA 16.0  19   13   1302

hdisk61  10-80-01       IBM-2105F20 00E15244 5828  N  R1-B1-H3-ZA 16.0  19   13   1302

cpcf1n9sw  f1n9104vg  vpath26  hdisk30  20-58-01       IBM-2105F20 30C15244 5828  N  R1-B4-H2-ZA 16.0  19   14   1302

hdisk62  10-80-01       IBM-2105F20 30C15244 5828  N  R1-B1-H3-ZA 16.0  19   14   1302

cpcf1n9sw  f1n9100vg  vpath27  hdisk31  20-58-01       IBM-2105F20 30D15244 5828  N  R1-B4-H2-ZA 16.0  17   9    1100

hdisk63  10-80-01       IBM-2105F20 30D15244 5828  N  R1-B1-H3-ZA 16.0  17   9    1100

cpcf1n9sw  f1n9101vg  vpath28  hdisk32  20-58-01       IBM-2105F20 30E15244 5828  N  R1-B4-H2-ZA 16.0  17   10   1101

hdisk64  10-80-01       IBM-2105F20 30E15244 5828  N  R1-B1-H3-ZA 16.0  17   10   1101

cpcf1n9sw  f1n9100vg  vpath29  hdisk33  20-58-01       IBM-2105F20 20C15244 5828  N  R1-B4-H2-ZA 16.0  17   11   1101

hdisk65  10-80-01       IBM-2105F20 20C15244 5828  N  R1-B1-H3-ZA 16.0  17   11   1101

cpcf1n9sw  f1n9101vg  vpath30  hdisk34  20-58-01       IBM-2105F20 20D15244 5828  N  R1-B4-H2-ZA 16.0  17   12   1102

hdisk66  10-80-01       IBM-2105F20 20D15244 5828  N  R1-B1-H3-ZA 16.0  17   12   1102

cpcf1n9sw  f1n9102vg  vpath31  hdisk35  20-58-01       IBM-2105F20 20E15244 5828  N  R1-B4-H2-ZA 16.0  17   13   1102

hdisk67  10-80-01       IBM-2105F20 20E15244 5828  N  R1-B1-H3-ZA 16.0  17   13   1102

lsvp	# Pulls information out of ODM from last boot

Processing /var/adm/lsess.out file ................................

BAY-1(B1)            BAY-2(B2)            BAY-3(B3)            BAY-4(B4)

H1  H2  H3  H4       H1  H2  H3  H4       H1  H2  H3  H4       H1  H2  H3  H4

A B A B A B A B      A B A B A B A B      A B A B A B A B      A B A B A B A B

vpath0  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath1  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath2  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath3  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath4  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath5  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath6  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath7  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath8  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath9  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath10  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath11  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath12  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath13  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath14  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath15  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath16  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath17  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath18  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath19  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath20  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath21  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath22  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath23  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath24  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath25  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath26  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath27  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath28  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath29  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath30  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

vpath31  - - - - - Y - -      - - - - - - - -      - - - - - - - -      - - - Y - - - -

Y = online/open

O = online/closed

N = offline

X = not-available

- = path not configured

? = path information not available

Web Pages / Books of Interest

Subsystem Device Driver downloadable code (and this document) is available at the following website:

http://ssddom01.storage.ibm.com/techsup/swtechsup.nsf/support/sddupdates

ESS Reference Material is availabe at the following website:

http://www.storage.ibm.com/hardsoft/products/ess/refinfo.htm

If you are looking for a nice image of an ESS for a glossy brochure, please send this URL to your IBM Representative.  It is on the IBM Intranet at the following website:

http://w3.ssd.ibm.com/marketing/storage2.nsf/7d5e951cd96e748f082565bd00652388/134649c5014b8d43882567e5002b53ae?OpenDocument

There is a really nice red piece availabe – SG24-6113 – Implementing Fibre Channel Attachment on the ESS.  Go to http://www.redbooks.ibm.com and search on “SG246113” to find it.

Hopefully this document was helpful.  E-mails are appreciated at jiadams@us.ibm.com.  Good luck and God Bless!